{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["NAICS 322 Units"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"NAICS 322 Units","index":0,"n_rows":549,"n_cols":12,"rows_kept":549,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["Use this spreadsheet to lookup the Boiler MACT survey FacilityID and UnitID.",null,null,null,"Source: Survey Database containing Results of the 2008 Questionnaire for Boilers, Process Heaters, and other Combustion Units (ICR No. 2286.01)  available at http://www.epa.gov/ttn/atw/boiler/boilerpg.html"]
[{"$nulls":4},"Data in the table below were extracted from the Boiler MACT data base for facilities included in NAICS 322."]
["FacilityID","Facility Name","2b_Phys_City","2c_Phys_State","UnitID","Classification","YearInstalled","Capacity","CapacityUnit","Standardized Capacity","Standardized CapacityUnit","Fuel"]
["ALBoiseWhitePaperJackson","Boise White Paper, LLC - Jackson Mill","Jackson","AL","102-0001-X020","Boiler",1991,343.4,"million Btu/hr",343.4,"million Btu/hr","Natural gas"]
["ALBoiseWhitePaperJackson","Boise White Paper, LLC - Jackson Mill","Jackson","AL","102-0001-X025","Boiler",1995,346.4,"million Btu/hr",346.4,"million Btu/hr","Natural gas"]
["ALBoiseWhitePaperJackson","Boise White Paper, LLC - Jackson Mill","Jackson","AL","102-0001-X029","Boiler",1996,346.4,"million Btu/hr",346.4,"million Btu/hr","Natural gas"]
["ALBoiseWhitePaperJackson","Boise White Paper, LLC - Jackson Mill","Jackson","AL","102-0001-Z013","Boiler",1964,435,"million Btu/hr",435,"million Btu/hr","Wood: Bark"]
["ALGeorgiaPacificNaheola","Georgia Pacific - Naheola Mill","Pennington","AL","X195 - Package Boiler 5","Boiler",1974,166.8,"million Btu/hr",166.8,"million Btu/hr","Natural gas"]
["ALGeorgiaPacificNaheola","Georgia Pacific - Naheola Mill","Pennington","AL","X196 - Package Boiler 6","Boiler",1974,167,"million Btu/hr",167,"million Btu/hr","Natural gas"]
["ALGeorgiaPacificNaheola","Georgia Pacific - Naheola Mill","Pennington","AL","Z015 - CB1","Boiler",1958,425,"million Btu/hr",425,"million Btu/hr","Coal: Bituminous"]
["ALGeorgiaPacificNaheola","Georgia Pacific - Naheola Mill","Pennington","AL","Z016 - CB2","Boiler",1962,318,"million Btu/hr",318,"million Btu/hr","Coal: Bituminous"]
["ALGeorgiaPacificNaheola","Georgia Pacific - Naheola Mill","Pennington","AL","Z017 - PB3","Boiler",1970,379,"million Btu/hr",379,"million Btu/hr","No. 6 Residual oil"]
["ALGPBrewtonMill","Georgia-Pacific - Brewton Mill","Brewton","AL","BR-PS11-S049 Package Boiler","Boiler",1966,40,"million Btu/hr",40,"million Btu/hr","Natural gas"]
["ALGPBrewtonMill","Georgia-Pacific - Brewton Mill","Brewton","AL","BR-PSG0-S018 No. 1 Power Boiler","Boiler",1956,289,"million Btu/hr",289,"million Btu/hr","Natural gas"]
["ALGPBrewtonMill","Georgia-Pacific - Brewton Mill","Brewton","AL","BR-PSG0-S021 No. 2 Power Boiler","Boiler",1963,390,"million Btu/hr",390,"million Btu/hr","Wood: Bark"]
["ALGPBrewtonMill","Georgia-Pacific - Brewton Mill","Brewton","AL","BR-PSG0-S026 No. 3 Power Boiler","Boiler",1981,608,"million Btu/hr",608,"million Btu/hr","Wood: Bark"]
["ALIPCourtland","International Paper - Courtland Mill","Courtland","AL","33 Off Machine Coater #1 Overly Dryer","Process Heater",1974,10.35,"million Btu/hr",10.35,"million Btu/hr","Natural gas"]
["ALIPCourtland","International Paper - Courtland Mill","Courtland","AL","No. 1 Combination Boiler / 11CU101","Boiler",1970,398,"million Btu/hr",398,"million Btu/hr","Additional Fuels: Natural Gas, Fuel Oil"]
["ALIPCourtland","International Paper - Courtland Mill","Courtland","AL","No. 3 Combination Boier / 11CU301","Boiler",1993,710,"million Btu/hr",710,"million Btu/hr","Additional Fuels: Natural Gas, Sludge, TDF"]
["ALIPCourtland","International Paper - Courtland Mill","Courtland","AL","No.2 Combination Boiler / 11CU201","Boiler",1979,735,"million Btu/hr",735,"million Btu/hr","Additional Fuels: Natural Gas, Coal"]
["ALIPCourtland","International Paper - Courtland Mill","Courtland","AL","Package Boiler / 11CU401","Boiler",1974,365,"million Btu/hr",365,"million Btu/hr","Natural gas"]
["ALIPPineHill","International Paper - Pine Hill Mill","Pine Hill","AL","109-0001-Z007","Boiler",1968,705,"million Btu/hr",705,"million Btu/hr","Wood: Bark"]
["ALIPPineHill","International Paper - Pine Hill Mill","Pine Hill","AL","109-0001-Z010","Boiler",1968,770,"million Btu/hr",770,"million Btu/hr","Wood: Bark"]
["ALIPPrattville","International Paper - Prattville Mill","Prattville","AL","Z001","Recovery Boiler",1967,665,"million Btu/hr",665,"million Btu/hr","Black Liquor"]
["ALIPPrattville","International Paper - Prattville Mill","Prattville","AL","Z003","Kiln",1967,100,"million Btu/hr",100,"million Btu/hr","Used Petroleum-based Oils"]
["ALIPPrattville","International Paper - Prattville Mill","Prattville","AL","Z006","Boiler",1967,707,"million Btu/hr",707,"million Btu/hr","421 mmbtu/hr (bark); 669 mmbtu/hr (oil)"]
["ALIPPrattville","International Paper - Prattville Mill","Prattville","AL","Z008","Boiler",1980,630,"million Btu/hr",630,"million Btu/hr","515 mmbtu/hr (coal); 517 mmbtu/hr (oil)"]
["ALIPPrattville","International Paper - Prattville Mill","Prattville","AL","Z011","Recovery Boiler",1980,881,"million Btu/hr",881,"million Btu/hr","Black Liquor"]
["ALIPRiverdale","International Paper - Riverdale Mill","Selma","AL","No. 1 Bark Boiler / BK01","Boiler",1979,245,"million Btu/hr",245,"million Btu/hr","Wood: Bark"]
["ALIPRiverdale","International Paper - Riverdale Mill","Selma","AL","No. 1 Power Boiler / PB01","Boiler",1965,300,"million Btu/hr",300,"million Btu/hr","Natural gas"]
["ALMeadwestvacoCottonton46","MeadWestvaco Coated Board, Inc.","Phenix City","AL","No.1 Power Boiler (PFI Boiler)","Boiler",1965,428,"million Btu/hr",428,"million Btu/hr","Natural gas"]
["ALMeadwestvacoCottonton46","MeadWestvaco Coated Board, Inc.","Phenix City","AL","No.1 Wood Residue Boiler","Boiler",1966,337,"million Btu/hr",337,"million Btu/hr","Natural gas"]
["ALMeadwestvacoCottonton46","MeadWestvaco Coated Board, Inc.","Phenix City","AL","No.2 Wood Residue Boiler","Boiler",1981,550,"million Btu/hr",550,"million Btu/hr","Wood: Bark  and   Natural Gas"]
["ALMeadwestvacoCottonton46","MeadWestvaco Coated Board, Inc.","Phenix City","AL","No.3 Wood Residue Boiler","Boiler",1990,915,"million Btu/hr",915,"million Btu/hr","Wood: Bark  and  Natural Gas"]
["ARDeltaNaturalKraft","Delta Natural Kraft","Pine Bluff","AR","Hog Fuel Boiler (SN-05)","Boiler",1976,160,"million Btu/hr",160,"million Btu/hr","Hog Fuel"]
["ARDeltaNaturalKraft","Delta Natural Kraft","Pine Bluff","AR","Power Boiler (SN-06)","Boiler",1957,80,"million Btu/hr",80,"million Btu/hr","Natural gas"]
["ARDeltaNaturalKraft","Delta Natural Kraft","Pine Bluff","AR","Recovery Boiler (SN-02)","Other - Recovery Boiler",1957,100,"million Btu/hr",100,"million Btu/hr","Black Liquor"]
["ARDomtarIndustries","Domtar Industries Inc., Ashdown Mill","Ashdown","AR","LK2","Kiln",1979,161,"million Btu/hr",161,"million Btu/hr","Natural gas"]
["ARDomtarIndustries","Domtar Industries Inc., Ashdown Mill","Ashdown","AR","LK3","Kiln",1991,153,"million Btu/hr",153,"million Btu/hr","Natural gas"]
["ARDomtarIndustries","Domtar Industries Inc., Ashdown Mill","Ashdown","AR","PB1","Boiler",1967,580,"million Btu/hr",580,"million Btu/hr","Wood: Bark"]
["ARDomtarIndustries","Domtar Industries Inc., Ashdown Mill","Ashdown","AR","PB2","Boiler",1975,820,"million Btu/hr",820,"million Btu/hr","Coal: Bituminous"]
["ARDomtarIndustries","Domtar Industries Inc., Ashdown Mill","Ashdown","AR","PB3","Boiler",1990,790,"million Btu/hr",790,"million Btu/hr","Wood: Bark"]
["ARDomtarIndustries","Domtar Industries Inc., Ashdown Mill","Ashdown","AR","PKG2","Boiler",1981,210,"million Btu/hr",210,"million Btu/hr","Natural gas"]
["AREvergreenPackaging","Evergreen Packaging","Pine Bluff","AR","BB","Boiler",1958,500,"million Btu/hr",500,"million Btu/hr","Biomass"]
["AREvergreenPackaging","Evergreen Packaging","Pine Bluff","AR","PB1","Boiler",1958,600,"million Btu/hr",600,"million Btu/hr","Natural gas"]
["AREvergreenPackaging","Evergreen Packaging","Pine Bluff","AR","PB2","Boiler",1958,600,"million Btu/hr",600,"million Btu/hr","Natural gas"]
["ARGBPMorrilton","Green Bay Packaging, Incorporated - Arkansas Kraft","Morrilton","AR","SN-02","Boiler",1968,162,"million Btu/hr",162,"million Btu/hr","Wood: Bark"]
["ARGBPMorrilton","Green Bay Packaging, Incorporated - Arkansas Kraft","Morrilton","AR","SN-04","Boiler",1965,452,"million Btu/hr",452,"million Btu/hr","Wood: Bark"]
["ARGBPMorrilton","Green Bay Packaging, Incorporated - Arkansas Kraft","Morrilton","AR","SN-14","Boiler",1973,250,"million Btu/hr",250,"million Btu/hr","Natural gas"]
["ARGBPMorrilton","Green Bay Packaging, Incorporated - Arkansas Kraft","Morrilton","AR","SN-15","Boiler",1997,205,"million Btu/hr",205,"million Btu/hr","Natural gas"]
["ARGPCrossett92","Georgia-Pacific - Crossett Paper","Crossett","AR","SN-03","Boiler",1984,1001,"million Btu/hr",1001,"million Btu/hr","Wood: Bark"]
["ARGPCrossett92","Georgia-Pacific - Crossett Paper","Crossett","AR","SN-18","Boiler",1953,220,"million Btu/hr",220,"million Btu/hr","Natural gas"]
["ARGPCrossett92","Georgia-Pacific - Crossett Paper","Crossett","AR","SN-19","Boiler",1962,357,"million Btu/hr",357,"million Btu/hr","Natural gas"]
["ARGPCrossett92","Georgia-Pacific - Crossett Paper","Crossett","AR","SN-22","Boiler",1973,720,"million Btu/hr",720,"million Btu/hr","Wood: Bark"]
["ARPotlatchForestCypressBend","Potlatch Forest Products Corporation - Cypress Bend Mill","Arkansas City","AR","#1 Recovery Furnace","Recovery Boiler",1976,740,"million Btu/hr",740,"million Btu/hr","Black Liquor"]
["ARPotlatchForestCypressBend","Potlatch Forest Products Corporation - Cypress Bend Mill","Arkansas City","AR","Power Boiler #1","Boiler",1976,479,"million Btu/hr",479,"million Btu/hr","Natural gas/No. 2 Distillate"]
["AZCatalystPaperSnowflake","Catalyst Paper (Snowflake) Inc.","Snowflake","AZ","Power Boiler #1 Natural Gas","Boiler",1961,523,"million Btu/hr",523,"million Btu/hr","Natural gas"]
["AZCatalystPaperSnowflake","Catalyst Paper (Snowflake) Inc.","Snowflake","AZ","Power Boiler #2 Coal","Boiler",1975,1132,"million Btu/hr",1132,"million Btu/hr","Coal: Sub-bituminous"]
["AZCatalystPaperSnowflake","Catalyst Paper (Snowflake) Inc.","Snowflake","AZ","Power Boiler #3 Natural Gas","Boiler",2002,337,"million Btu/hr",337,"million Btu/hr","Natural gas"]
["CAEvergreenPulp","Evergreen Pulp, Incorporated","Samoa","CA","4","Kiln",1965,102,"million Btu/hr",102,"million Btu/hr","Natural gas"]
["CTCascadesBoxboard","Cascades Boxboard Group - Connecticut LLC","Versailles","CT","FM Boiler, TV EMU#4","Boiler",1973,70.1,"million Btu/hr",70.1,"million Btu/hr","Natural gas"]
["CTCascadesBoxboard","Cascades Boxboard Group - Connecticut LLC","Versailles","CT","PFI Boiler, TV UMU#3","Boiler",1962,288,"275mmBTU/Hr for #6 fuel oil",288,"million Btu/hr","#6 Fuel Oil"]
["FLBuckeyeFlorida","Buckeye Florida, LP","Perry","FL","#4 Lime kiln","Kiln",1985,null,"million Btu/hr",null,"unknown","Natural gas"]
["FLGPPalatka","Georgia-Pacific -- Palatka mill","Palatka","FL","EU15","Boiler",1965,540,"million Btu/hr",540,"million Btu/hr","Natural gas"]
["FLGPPalatka","Georgia-Pacific -- Palatka mill","Palatka","FL","EU16","Boiler",1965,512.7,"million Btu/hr",512.7,"million Btu/hr","No. 6 Fuel Oil"]
["FLGPPalatka","Georgia-Pacific -- Palatka mill","Palatka","FL","EU44","Boiler",2002,244.6,"million Btu/hr",244.6,"million Btu/hr","Natural gas"]
["FLIPPensacola","International Paper - Pensacola Mill","Cantonment","FL","Power Boiler 3 / EU ID 33","Boiler",1961,347,"million Btu/hr",347,"million Btu/hr","Natural gas"]
["FLIPPensacola","International Paper - Pensacola Mill","Cantonment","FL","Power Boiler 4 / EU ID 37","Boiler",1981,666,"million Btu/hr",666,"million Btu/hr","Coal: Bituminous"]
["FLIPPensacola","International Paper - Pensacola Mill","Cantonment","FL","Power Boiler 5 / EU ID 02","Boiler",1964,195,"million Btu/hr",195,"million Btu/hr","Natural gas"]
["FLIPPensacola","International Paper - Pensacola Mill","Cantonment","FL","Power Boiler 6 / EU ID 03","Boiler",1995,535,"million Btu/hr",535,"million Btu/hr","Natural gas"]
["FLRayonierPerformance","Rayonier Performance Fibers LLC","Fernandina Beach","FL","PB06","Boiler",1983,525,"million Btu/hr",525,"million Btu/hr","Biomass"]
["FLSmurfit-Stone","Smurfit Stone Container Enterprises, Fernandina Beach Mill","Fernandina Beach","FL","5PB","Boiler",1968,805,"million Btu/hr",805,"million Btu/hr","Biomass and No. 6 Fuel Oil"]
["FLSmurfit-Stone","Smurfit Stone Container Enterprises, Fernandina Beach Mill","Fernandina Beach","FL","7PB","Boiler",1981,1021,"million Btu/hr",1021,"million Btu/hr","Coal: Bituminous/Fly Ash/No. 6 Residual oil"]
["GACaraustar","Caraustar Industries, Inc.","Austell","GA","CB01","Boiler",1982,313,"million Btu/hr",313,"million Btu/hr","Coal: Bituminous"]
["GAGPCedarSprings","Georgia Pacific - Cedar Springs Paper","Cedar Springs","GA","U500 - Power Boiler No 1","Boiler",1963,784,"million Btu/hr",784,"million Btu/hr","Coal: Bituminous"]
["GAGPCedarSprings","Georgia Pacific - Cedar Springs Paper","Cedar Springs","GA","U501 - Power Boiler No 2","Boiler",1967,784,"million Btu/hr",784,"million Btu/hr","Coal: Bituminous"]
["GAGPCedarSprings","Georgia Pacific - Cedar Springs Paper","Cedar Springs","GA","U505 -Package Boiler No 4","Boiler",1990,170,"million Btu/hr",170,"million Btu/hr","Natural gas/No. 2 Distillate"]
["GAGPCelluloseBrunswick","Gp Cellulose (Brunswick Cellulose, Inc.)","Brunswick","GA","U700 -- No. 4 Power Boiler","Boiler",1961,800,"million Btu/hr",800,"million Btu/hr","No. 6 Residual oil"]
["GAGPCelluloseBrunswick","Gp Cellulose (Brunswick Cellulose, Inc.)","Brunswick","GA","U706 -- No. 6 Power Boiler","Boiler",1999,370,"million Btu/hr",370,"million Btu/hr","Natural gas"]
["GAGPCelluloseBrunswick","Gp Cellulose (Brunswick Cellulose, Inc.)","Brunswick","GA","U707 -- No. 7 Power Boiler","Boiler",2003,208,"million Btu/hr",208,"million Btu/hr","Natural gas"]
["GAGPSRMRiincon","Georgia-Pacific - Savannah River Mill","Rincon","GA","EU BO01","Boiler",1986,422,"million Btu/hr",422,"million Btu/hr","Coke Oven Gas"]
["GAGPSRMRiincon","Georgia-Pacific - Savannah River Mill","Rincon","GA","EU BO02","Boiler",1990,422,"million Btu/hr",422,"million Btu/hr","Coke Oven Gas"]
["GAGPSRMRiincon","Georgia-Pacific - Savannah River Mill","Rincon","GA","EU BO03","Boiler",1995,422,"million Btu/hr",422,"million Btu/hr","Coke Oven Gas"]
["GAInternationalPaperAugustaMills","International Paper - Augusta Mill","Augusta","GA","PB1A","Boiler",1959,680,"million Btu/hr",680,"million Btu/hr","Natural gas"]
["GAInternationalPaperAugustaMills","International Paper - Augusta Mill","Augusta","GA","PB2A","Boiler",1965,686,"million Btu/hr",686,"million Btu/hr","Natural gas"]
["GAInternationalPaperAugustaMills","International Paper - Augusta Mill","Augusta","GA","PB3A","Boiler",1989,560,"million Btu/hr",560,"million Btu/hr","Wood:Bark; Wood and Wood Waste; In-Woods Chips"]
["GAInternationalPaperAugustaMills","International Paper - Augusta Mill","Augusta","GA","RLYA","Boiler",1975,220,"million Btu/hr",220,"million Btu/hr","Natural gas"]
["GAIPSavannah","International Paper - Savannah Mill","Savannah","GA","No. 13 Power Boiler - PB13","Boiler",1982,1280,"million Btu/hr",1280,"million Btu/hr","Coal: Bituminous"]
["GAP&GAlbany","Procter & Gamble Paper Products Company - Albany","Albany","GA","B001","Boiler",1972,187,"million Btu/hr",187,"million Btu/hr","Natural gas"]
["GAP&GAlbany","Procter & Gamble Paper Products Company - Albany","Albany","GA","B002","Boiler",1981,216,"million Btu/hr",216,"million Btu/hr","Wood: Bark"]
["GAP&GAlbany","Procter & Gamble Paper Products Company - Albany","Albany","GA","B003","Boiler",1996,175,"million Btu/hr",175,"million Btu/hr","Natural gas"]
["GAPCAValdosta","Packaging Corporation of America,  Valdosta","Valdosta","GA","1005","Boiler",1964,360,"million Btu/hr",360,"million Btu/hr","Hog Fuel"]
["GAPCAValdosta","Packaging Corporation of America,  Valdosta","Valdosta","GA","1006","Boiler",1953,243,"million Btu/hr",243,"million Btu/hr","Hog Fuel"]
["GAPCAValdosta","Packaging Corporation of America,  Valdosta","Valdosta","GA","1017","Boiler",1953,185,"million Btu/hr",185,"million Btu/hr","No. 6 Residual oil"]
["GARayonierJesupMill","Rayonier Performance Fibers--Jesup Mill","Jesup","GA","PB01","Boiler",1954,176,"million Btu/hr",176,"million Btu/hr","Hog Fuel"]
["GARayonierJesupMill","Rayonier Performance Fibers--Jesup Mill","Jesup","GA","PB02","Boiler",1955,313,"million Btu/hr",313,"million Btu/hr","Hog Fuel/No. 6 Residual oil/Used Petroleum-based Oils (on-spec)"]
["GARayonierJesupMill","Rayonier Performance Fibers--Jesup Mill","Jesup","GA","PB03","Boiler",1973,612,"million Btu/hr",612,"million Btu/hr","Hog Fuel/No. 6 Residual oil/Used Petroleum-based Oils"]
["GARayonierJesupMill","Rayonier Performance Fibers--Jesup Mill","Jesup","GA","PB31","Boiler",1996,371,"million Btu/hr",371,"million Btu/hr","Natural gas"]
["GASPNewsprint","SP Newsprint Co.","Dublin","GA","GT","Boiler",1989,514,"million Btu/hr",514,"million Btu/hr","Natural gas"]
["GASPNewsprint","SP Newsprint Co.","Dublin","GA","HRSG","Boiler",1989,153,"million Btu/hr",153,"million Btu/hr","Natural gas"]
["GASPNewsprint","SP Newsprint Co.","Dublin","GA","PB1","Boiler",1979,249,"MMBtu/hr",249,"million Btu/hr","Bituminous Coal"]
["GASPNewsprint","SP Newsprint Co.","Dublin","GA","PB2","Boiler",1989,550,"MMBtu/hr",550,"million Btu/hr","Bituminous Coal"]
["GATempleInlandRome","Temple-Inland ( Rome Linerboard Mill)","Rome","GA","LK1","Kiln",1982,100,"million Btu/hr",100,"million Btu/hr","Reprocessed fuel oil"]
["GATempleInlandRome","Temple-Inland ( Rome Linerboard Mill)","Rome","GA","LK2","Kiln",1975,100,"million Btu/hr",100,"million Btu/hr","Reprocessed Fuel Oil"]
["GATempleInlandRome","Temple-Inland ( Rome Linerboard Mill)","Rome","GA","PB4","Boiler",1962,565,"million Btu/hr",565,"million Btu/hr","Coal: Bituminous"]
["GATempleInlandRome","Temple-Inland ( Rome Linerboard Mill)","Rome","GA","PK2","Boiler",2001,192,"million Btu/hr",192,"million Btu/hr","Natural gas"]
["GATempleInlandRome","Temple-Inland ( Rome Linerboard Mill)","Rome","GA","RF5","Recovery Boiler",1988,1360,"million Btu/hr",1360,"million Btu/hr","Black Liquor Solid"]
["GATempleInlandRome","Temple-Inland ( Rome Linerboard Mill)","Rome","GA","WF","Boiler",2004,856,"million Btu/hr",856,"million Btu/hr","Wood: Bark"]
["GAWeyerhaeuserCoOglethorpe","Weyerhaeuser Company - Flint River Operations","Oglethorpe","GA","Lime Kiln (U800)","Kiln",2004,90,"million Btu/hr",90,"million Btu/hr","Natural gas"]
["GAWeyerhaeuserCoOglethorpe","Weyerhaeuser Company - Flint River Operations","Oglethorpe","GA","Power Boiler (U400)","Boiler",1980,660,"million Btu/hr",660,"million Btu/hr","Hog Fuel"]
["GAWeyerhaeuserPortWent","Weyerhaeuser Port Wentworth","Port Wentworth","GA","No. 4 Combination Boiler","OSWI",1989,915,"million Btu/hr",915,"million Btu/hr","Hog Fuel"]
["IA3MKnoxville","3M Knoxville","Knoxville","IA","EPN 007-030 Boiler 1","Boiler",1974,72,"million Btu/hr",72,"million Btu/hr","Natural gas"]
["IA3MKnoxville","3M Knoxville","Knoxville","IA","EPN 007-031 Boiler 2","Boiler",1974,72,"million Btu/hr",72,"million Btu/hr","Natural gas"]
["IDPotlatchLewiston","Potlatch Forest Products Corporation - Lewiston","Lewiston","ID","1 Power Boiler","Boiler",1950,376,"million Btu/hr",376,"million Btu/hr","Natural gas"]
["IDPotlatchLewiston","Potlatch Forest Products Corporation - Lewiston","Lewiston","ID","2 Power Boiler","Boiler",1952,336,"million Btu/hr",336,"million Btu/hr","Natural gas"]
["ILAEFTaylorville","Ahlstrom Engine Filtration, LLC","Taylorville","IL","Boiler","Boiler",1996,42,"million Btu/hr",42,"million Btu/hr","Natural gas"]
["ILIntnlPaper-ShelbyvilleFood","International Paper-Shelbyville Foodservice Business","Shelbyville","IL","Boiler #1 (B-1)","Boiler",1974,20.9,"million Btu/hr",20.9,"million Btu/hr","Natural gas"]
["ILRollpointPackaging","Rollprint Packaging Products, Inc.","Addison","IL","","",null,null,"",null,"",""]
["IN3MHartfordCity","3M Hartford City","Hartford City","IN","EU008 - Boiler 1","Boiler",1986,12.553,"million Btu/hr",12.553,"million Btu/hr","Natural gas"]
["IN3MHartfordCity","3M Hartford City","Hartford City","IN","EU009 - Boiler 2","Boiler",1986,12.553,"million Btu/hr",12.553,"million Btu/hr","Natural gas"]
["IN3MHartfordCity","3M Hartford City","Hartford City","IN","EU010 - Boiler 3","Boiler",1986,12.553,"million Btu/hr",12.553,"million Btu/hr","Natural gas"]
["INAveryDennisonFasson","Avery Dennison - Fasson Roll Division","Fort Wayne","IN","Boiler B-3","Boiler",1995,10.2,"million Btu/hr",10.2,"million Btu/hr","Natural gas"]
["INAveryDennisonFasson","Avery Dennison - Fasson Roll Division","Fort Wayne","IN","FW2 Oven 2","Process Heater",1986,18.33,"million Btu/hr",18.33,"million Btu/hr","Natural gas"]
["KSAPIFoilsLawrence","API Foils, Inc","Lawrence","KS","B1","Boiler",1995,10.043,"million Btu/hr",10.043,"million Btu/hr","Natural gas"]
["KY3MCynthiana","3M Cynthiana","Cynthiana","KY","EP08-1","Boiler",1985,12.5,"million Btu/hr",12.5,"million Btu/hr","Natural gas"]
["KY3MCynthiana","3M Cynthiana","Cynthiana","KY","EP08-2","Boiler",1985,12.5,"million Btu/hr",12.5,"million Btu/hr","Natural gas"]
["KY3MCynthiana","3M Cynthiana","Cynthiana","KY","EP21","Boiler",1989,16.74,"million Btu/hr",16.74,"million Btu/hr","Natural gas"]
["KY3MCynthiana","3M Cynthiana","Cynthiana","KY","EP32","Boiler",1991,39,"million Btu/hr",39,"million Btu/hr","Natural gas"]
["KYAlcanShelbyville","Alcan Packaging Food & Tobacco, Inc.","Shelbyville","KY","","",null,null,"",null,"",""]
["KYDomtarHawesville","Domtar Paper Company, LLC.- Hawesville Mill","Hawesville","KY","Biofuel Boiler B-900","Boiler",1997,1050,"million Btu/hr",1050,"million Btu/hr","natural gas"]
["KYDomtarHawesville","Domtar Paper Company, LLC.- Hawesville Mill","Hawesville","KY","No. 2 Backup Boiler C-50","Boiler",1981,400,"million Btu/hr",400,"million Btu/hr","Natural gas"]
["KYDomtarHawesville","Domtar Paper Company, LLC.- Hawesville Mill","Hawesville","KY","Package Boiler C-40","Boiler",1985,180,"million Btu/hr",180,"million Btu/hr","Natural gas"]
["KYHawleyProducts","HAWLEY PRODUCTS, INCORPORATED","PADUCAH","KY","","",null,null,"",null,"",""]
["KYIntertape","Intertape Polymer Group","Richmond","KY","","",null,null,"",null,"",""]
["KYKimberlyClarkCorpOwensboro","Kimberly-Clark Corporation","Owensboro","KY","Process Boiler","Boiler",1993,null,"million Btu/hr",99.3,"million Btu/hr","Natural gas"]
["KYKimberlyClarkCorpOwensboro","Kimberly-Clark Corporation","Owensboro","KY","TM1 Dryer #1","Other",1993,20,"million Btu/hr",20,"million Btu/hr","Natural gas"]
["KYKimberlyClarkCorpOwensboro","Kimberly-Clark Corporation","Owensboro","KY","TM1 Dryer #2","Other",1993,20,"million Btu/hr",20,"million Btu/hr","Natural gas"]
["KYKimberlyClarkCorpOwensboro","Kimberly-Clark Corporation","Owensboro","KY","TM2 TAD #1","Other",1993,70,"million Btu/hr",70,"million Btu/hr","Natural gas"]
["KYKimberlyClarkCorpOwensboro","Kimberly-Clark Corporation","Owensboro","KY","TM2 TAD #2","Other",1993,47,"million Btu/hr",47,"million Btu/hr","Natural gas"]
["KYNewPage-Wickliffe","Wickliffe Mill","Wickliffe","KY","B01","Boiler",1969,325,"million Btu/hr",325,"million Btu/hr","Natural gas"]
["KYNewPage-Wickliffe","Wickliffe Mill","Wickliffe","KY","B02","Boiler",1969,325,"million Btu/hr",325,"million Btu/hr","Natural gas"]
["KYNewPage-Wickliffe","Wickliffe Mill","Wickliffe","KY","B09","Boiler",1979,631,"million Btu/hr",631,"million Btu/hr","Natural gas/Noncondensable Gas (includes stripper offgas)/Industrial Sludge/Tire Derived Fuel (TDF)/Used Petroleum-based Oils/Wood: Bark"]
["LABoiseNewsprintDeRidder","Boise Packaging and Newsprint, LLC - DeRidder Mill","DeRidder","LA","69-03","Boiler",1969,1591.3,"million Btu/hr",1591.3,"million Btu/hr","Wood: Bark"]
["LABoiseNewsprintDeRidder","Boise Packaging and Newsprint, LLC - DeRidder Mill","DeRidder","LA","79-01","Boiler",1979,454.29,"million Btu/hr",454.29,"million Btu/hr","Wood: Bark"]
["LABoiseNewsprintDeRidder","Boise Packaging and Newsprint, LLC - DeRidder Mill","DeRidder","LA","86-01","Boiler",1986,228,"million Btu/hr",228,"million Btu/hr","Natural gas"]
["LABoiseNewsprintDeRidder","Boise Packaging and Newsprint, LLC - DeRidder Mill","DeRidder","LA","86-02","Boiler",1986,228,"million Btu/hr",228,"million Btu/hr","Natural gas"]
["LAGPPortHudson","Georgia-Pacific Port Hudson Mill","Zachary","LA","EQT0099 - Combination Boiler No. 1","Boiler",1969,459.2,"million Btu/hr",459.2,"million Btu/hr","Wood: Bark"]
["LAGPPortHudson","Georgia-Pacific Port Hudson Mill","Zachary","LA","EQT0100 - Power Boiler No. 5","Boiler",1976,987,"million Btu/hr",987,"million Btu/hr","Natural gas"]
["LAGPPortHudson","Georgia-Pacific Port Hudson Mill","Zachary","LA","EQT0109 - No. 6 CFB Boiler","Boiler",2006,1205,"million Btu/hr",1205,"million Btu/hr","Coke Oven Gas"]
["LAInternationalPaperRedRiverMill","International Paper - Red River Mill","Campti","LA","EQT005 Power Boiler","Boiler",1974,180,"million Btu/hr",180,"million Btu/hr","Natural gas"]
["LAInternationalPaperRedRiverMill","International Paper - Red River Mill","Campti","LA","EQT009 Hogged Fuel Boiler No. 1","Not In Use",1978,249,"million Btu/hr",249,"million Btu/hr","Mixture of Wood: Unadulterated Timber, Unadulterat"]
["LAIPBastrop","International Paper - Louisiana Mill","Bastrop","LA","","",null,null,"",null,"",""]
["LATembecUSA","St. Francisville Operations","St. Francisville","LA","PB No.4","Boiler",1966,375,"million Btu/hr",375,"million Btu/hr","Natural gas"]
["LATempleInlandBogalusa","TIN Inc. - Bogalusa Box Plant","Bogalusa","LA","Primary Boiler","Boiler",1998,41.39,"Horsepower",0.12417,"million Btu/hr","Natural gas"]
["MAHollingsworth&vose","Hollingsworth & Vose Company","West Groton","MA","Boiler #1","Boiler",1988,49.5,"million Btu/hr",49.5,"million Btu/hr","No. 6 Residual oil"]
["MAIntellicoat","InteliCoat Technologies","South Hadley","MA","Boiler #1","Boiler",1966,38.5,"million Btu/hr",38.5,"million Btu/hr","Natural gas"]
["MAIntellicoat","InteliCoat Technologies","South Hadley","MA","Boiler #2","Boiler",1966,38.5,"million Btu/hr",38.5,"million Btu/hr","Natural gas"]
["MAIntellicoat","InteliCoat Technologies","South Hadley","MA","Boiler #3","Boiler",1962,76.9,"million Btu/hr",76.9,"million Btu/hr","Natural gas"]
["MANewarkAmerica","Newark America","Fitchburg","MA","Boiler #1","Boiler",1969,50000,"lb/hour",57.5,"million Btu/hr","No. 2 Distillate"]
["MANewarkAmerica","Newark America","Fitchburg","MA","Boiler #2","Boiler",2000,230,"million Btu/hr",230,"million Btu/hr","Natural gas"]
["MDNewPage-Luke","Luke Mill","Luke","MD","FPW Cleaver Brooks Boiler","Boiler",1978,8.375,"million Btu/hr",8.375,"million Btu/hr","No. 2 Distillate"]
["MDNewPage-Luke","Luke Mill","Luke","MD","No. 24","Boiler",1959,590,"million Btu/hr",590,"million Btu/hr","Coal: Bituminous"]
["MDNewPage-Luke","Luke Mill","Luke","MD","No. 25","Boiler",1965,785,"million Btu/hr",785,"million Btu/hr","Coal: Bituminous"]
["MDNewPage-Luke","Luke Mill","Luke","MD","No. 26","Boiler",1970,338,"million Btu/hr",338,"million Btu/hr","Natural gas"]
["MEDomtarBaileyville","Domtar Maine Corp.","Baileyville","ME","#9 Power Boiler","Boiler",1971,625,"million Btu/hr",625,"million Btu/hr","#6 fuel oil, waste oil, propane, gases, oily rags"]
["MEKatahdinPaperCo","Katahdin Paper Company, LLC.","East Millinocket","ME","EB1","Boiler",1953,370,"million Btu/hr",370,"million Btu/hr","No. 6 Residual oil"]
["MEKatahdinPaperCo","Katahdin Paper Company, LLC.","East Millinocket","ME","EB2","Boiler",1953,370,"million Btu/hr",370,"million Btu/hr","No. 6 Residual oil"]
["MEKatahdinPaperCo","Katahdin Paper Company, LLC.","East Millinocket","ME","EB3","Boiler",1980,498,"million Btu/hr",498,"million Btu/hr","No. 6 Residual oil/Wood: Bark"]
["MELincolnPaper&Tissue","Lincoln Paper and Tissue, LLC","Lincoln","ME","#2 Recovery Boiler","Recovery Boiler",1972,1.9,"million lbs black liquor solids/day",435.4166673,"million Btu/hr","Black Liquor"]
["MELincolnPaper&Tissue","Lincoln Paper and Tissue, LLC","Lincoln","ME","#6 Power Boiler","Boiler",1982,127,"million Btu/hr",127,"million Btu/hr","No. 6 Residual oil"]
["MELincolnPaper&Tissue","Lincoln Paper and Tissue, LLC","Lincoln","ME","#7 Power Boiler","Boiler",1948,100.1,"million Btu/hr",100.1,"million Btu/hr","No. 6 Residual oil"]
["MELincolnPaper&Tissue","Lincoln Paper and Tissue, LLC","Lincoln","ME","#7 Tissue Machine Dryer","Process Heater",1978,108,"gallon/hour",14.976,"million Btu/hr","No. 2 Distillate"]
["MELincolnPaper&Tissue","Lincoln Paper and Tissue, LLC","Lincoln","ME","#8 Power Boiler","Boiler",1991,433,"million Btu/hr",433,"million Btu/hr","Biomass"]
["MELincolnPaper&Tissue","Lincoln Paper and Tissue, LLC","Lincoln","ME","Lime Kiln","Kiln",1958,47.8,"million Btu/hr",47.8,"million Btu/hr","No. 6 Residual oil"]
["MEMadisonPaper","Madison Paper Industries","Madison","ME","#4 Boiler ME5949","Boiler",1968,119,"million Btu/hr",119,"million Btu/hr","No. 6 Residual oil"]
["MEMadisonPaper","Madison Paper Industries","Madison","ME","#6 Boiler ME6454","Boiler",1980,99,"million Btu/hr",99,"million Btu/hr","No. 6 Residual oil"]
["MEMadisonPaper","Madison Paper Industries","Madison","ME","#7 Boiler ME6737","Boiler",1991,117,"million Btu/hr",117,"million Btu/hr","No. 6 Residual oil"]
["MENewPage-Rumford","Rumford Mill","Rumford","ME","Cogen#6","Boiler",1990,630,"million Btu/hr",630,"million Btu/hr","Coal: Bituminous"]
["MENewPage-Rumford","Rumford Mill","Rumford","ME","Cogen#7","Boiler",1990,630,"million Btu/hr",630,"million Btu/hr","Coal: Bituminous"]
["MENewPage-Rumford","Rumford Mill","Rumford","ME","PB#3","Boiler",1948,300,"million Btu/hr",300,"million Btu/hr","No. 6 Residual oil"]
["MENewPage-Rumford","Rumford Mill","Rumford","ME","PB#5","Boiler",1971,300,"million Btu/hr",300,"million Btu/hr","No. 6 Residual oil"]
["MESDWarren","Westbrook Mill","Westbrook","ME","#17 Boiler","Boiler",1948,232.7,"million Btu/hr",232.7,"million Btu/hr","No. 6 Residual oil"]
["MESDWarren","Westbrook Mill","Westbrook","ME","#18 Boiler","Boiler",1948,232.7,"million Btu/hr",232.7,"million Btu/hr","No. 6 Residual oil"]
["MESDWarren","Westbrook Mill","Westbrook","ME","#21 Boiler","Boiler",1981,1074,"million Btu/hr",1074,"million Btu/hr","Biomass/Construction/Demolition Derived Material/Coal: Bituminous/Industrial Sludge/No. 2 Distillate/No. 6 Residual oil"]
["MESDWarrenSomerset","S.D. Warren Company - Somerset Operations","Skowhegan","ME","No1 Power Boiler","Boiler",1975,848,"million Btu/hr",848,"million Btu/hr","250 MMBtu/hr #6oil + 486 MMBtu/hr hog fuel + 112 M"]
["MESDWarrenSomerset","S.D. Warren Company - Somerset Operations","Skowhegan","ME","No2 Power Boiler","Boiler",1989,1300,"million Btu/hr",1300,"million Btu/hr","No. 6 Residual oil"]
["MESDWarrenSomerset","S.D. Warren Company - Somerset Operations","Skowhegan","ME","Package Boiler","Boiler",1989,71,"million Btu/hr",71,"million Btu/hr","No. 2 Distillate"]
["MEVersoPaper","Verso Paper Corp Bucksport Mill","Bucksport","ME","Boiler #5","Boiler",1966,371,"million Btu/hr",371,"million Btu/hr","No. 6 Residual oil"]
["MEVersoPaper","Verso Paper Corp Bucksport Mill","Bucksport","ME","Boiler #8","Boiler",1984,814,"million Btu/hr",814,"million Btu/hr","No. 6 Residual oil"]
["MEVersoPaperAndroscoggin","Verso Androscoggin LLC","Jay","ME","Power Boiler No. 1","Boiler",1965,680,"million Btu/hr",680,"million Btu/hr","No. 6 Residual oil"]
["MEVersoPaperAndroscoggin","Verso Androscoggin LLC","Jay","ME","Power Boiler No. 2","Boiler",1967,680,"million Btu/hr",680,"million Btu/hr","No. 6 Residual oil"]
["MEVersoPaperAndroscoggin","Verso Androscoggin LLC","Jay","ME","Steam Jenny","Boiler",1982,2,"million Btu/hr",2,"million Btu/hr","No. 2 Distillate"]
["MEVersoPaperAndroscoggin","Verso Androscoggin LLC","Jay","ME","Water Treatment Main Furnace","Boiler",2004,3.1,"million Btu/hr",3.1,"million Btu/hr","No. 2 Distillate"]
["MEVersoPaperAndroscoggin","Verso Androscoggin LLC","Jay","ME","Water Treatment Small Furnace","Boiler",1980,1.1,"million Btu/hr",1.1,"million Btu/hr","No. 2 Distillate"]
["MEVersoPaperAndroscoggin","Verso Androscoggin LLC","Jay","ME","WFI","Boiler",1976,480,"million Btu/hr",480,"million Btu/hr","bark, sawdust, unadalterated wood chips"]
["MIEBEddyPaper","E. B. Eddy Paper, Inc.","Port Huron","MI","EUBOILER2","Boiler",1966,65,"million Btu/hr",65,"million Btu/hr","Natural gas"]
["MIEBEddyPaper","E. B. Eddy Paper, Inc.","Port Huron","MI","EUBOILER4","Boiler",1937,91,"million Btu/hr",91,"million Btu/hr","Natural gas"]
["MIEBEddyPaper","E. B. Eddy Paper, Inc.","Port Huron","MI","EUBOILER5","Boiler",1969,196,"million Btu/hr",196,"million Btu/hr","Coal: Bituminous"]
["MIEBEddyPaper","E. B. Eddy Paper, Inc.","Port Huron","MI","EUBOILER6","Boiler",2002,25,"million Btu/hr",25,"million Btu/hr","Natural gas"]
["MIManistiquePaper","Manistique Papers Inc.","Manistique","MI","EUBLR001","Boiler",1964,85000,"lb/hour",1047.7949999999998,"million Btu/hr","Coal: Bituminous"]
["MIManistiquePaper","Manistique Papers Inc.","Manistique","MI","EUBLR002","Boiler",1977,60000,"lb/hour",739.62,"million Btu/hr","Coal: Bituminous"]
["MIMenominee","Menominee Acquisition Corporation dba Menominee Paper Company","Menominee","MI","#1 Boiler","Boiler",1928,89.28,"million Btu/hr",89.28,"million Btu/hr","Natural gas"]
["MIMenominee","Menominee Acquisition Corporation dba Menominee Paper Company","Menominee","MI","#3 Boiler","Boiler",1962,101,"million Btu/hr",101,"million Btu/hr","Coal: Bituminous"]
["MIMenominee","Menominee Acquisition Corporation dba Menominee Paper Company","Menominee","MI","#5 Boiler","Boiler",1950,81.8,"million Btu/hr",81.8,"million Btu/hr","Coal: Bituminous"]
["MIMenominee","Menominee Acquisition Corporation dba Menominee Paper Company","Menominee","MI","Paper Machine Hood","Process Heater",2002,6,"million Btu/hr",6,"million Btu/hr","Natural gas"]
["MINeenahPaperMI","Neenah Paper Michigan, Inc.","Munising","MI","Boiler 1","Boiler",1958,202,"million Btu/hr",202,"million Btu/hr","Coal: Bituminous"]
["MINeenahPaperMI","Neenah Paper Michigan, Inc.","Munising","MI","Boiler 2","Boiler",1970,225,"million Btu/hr",225,"million Btu/hr","No. 2 Distillate"]
["MIPackagingCorpofAmerica","PACKAGING CORPORATION OF AMERICA - FILER CITY MILL","FILER CITY","MI","EUBOILER1","Boiler",1950,240,"million Btu/hr",240,"million Btu/hr","Coal: Bituminous"]
["MIPackagingCorpofAmerica","PACKAGING CORPORATION OF AMERICA - FILER CITY MILL","FILER CITY","MI","EUBOILER2","Boiler",1950,186,"million Btu/hr",186,"million Btu/hr","Coal: Bituminous"]
["MIPackagingCorpofAmerica","PACKAGING CORPORATION OF AMERICA - FILER CITY MILL","FILER CITY","MI","EUBOILER4","Boiler",2002,227,"million Btu/hr",227,"million Btu/hr","Natural gas"]
["MIVersoPaperQuinnesec","Verso Paper Corp. Quinnesec Mill","Norway","MI","Lime Kiln","Kiln",1981,120,"million Btu/hr",120,"million Btu/hr","Natural gas"]
["MIVersoPaperQuinnesec","Verso Paper Corp. Quinnesec Mill","Norway","MI","Package Boiler","Boiler",1988,419,"million Btu/hr",419,"million Btu/hr","Natural gas"]
["MIVersoPaperQuinnesec","Verso Paper Corp. Quinnesec Mill","Norway","MI","Waste Fuel Boiler","Boiler",1981,624,"million Btu/hr",624,"million Btu/hr","Internally generated hogfuel and purchased unadult"]
["MN3MHutchinson","3M Hutchinson","Hutchinson","MN","EU001 - Boiler 3","Boiler",1967,110,"million Btu/hr",110,"million Btu/hr","Natural gas"]
["MN3MHutchinson","3M Hutchinson","Hutchinson","MN","EU002 - Boiler 4","Boiler",1967,110,"million Btu/hr",110,"million Btu/hr","Natural gas"]
["MN3MHutchinson","3M Hutchinson","Hutchinson","MN","EU037 - Boiler 5","Boiler",1989,100,"million Btu/hr",100,"million Btu/hr","Natural gas"]
["MNBoisePaper1212","Boise White Paper, LLC - I Falls","International Falls","MN","EU 420 Boiler #1","Boiler",1956,398,"million Btu/hr",398,"million Btu/hr","Natural gas"]
["MNBoisePaper1212","Boise White Paper, LLC - I Falls","International Falls","MN","EU 430 Boiler #2","Boiler",1956,395,"million Btu/hr",395,"million Btu/hr","398 Natural gas"]
["MNBoisePaper1212","Boise White Paper, LLC - I Falls","International Falls","MN","EU 440 Boiler #3","Boiler",1990,373,"million Btu/hr",373,"million Btu/hr","Natural gas"]
["MNBoisePaper1212","Boise White Paper, LLC - I Falls","International Falls","MN","EU 460 Boiler #9","Boiler",1990,205,"million Btu/hr",205,"million Btu/hr","Natural gas"]
["MNSappiCloquet","Sappi Cloquet LLC","Cloquet","MN","EU002","Boiler",1965,300,"million Btu/hr",300,"million Btu/hr","Wood: Bark"]
["MNSappiCloquet","Sappi Cloquet LLC","Cloquet","MN","EU004","Boiler",1980,430,"million Btu/hr",430,"million Btu/hr","Wood: Bark"]
["MNSappiCloquet","Sappi Cloquet LLC","Cloquet","MN","EU037","Boiler",1973,373,"million Btu/hr",373,"million Btu/hr","Natural gas"]
["MNVersoPaper","Verso Paper Corp. - Sartell Mill","Sartell","MN","EU006 B&W","Boiler",1981,368,"million Btu/hr",368,"million Btu/hr","Coal: Bituminous"]
["MNVersoPaper","Verso Paper Corp. - Sartell Mill","Sartell","MN","EU015 Wickes","Boiler",1956,135,"million Btu/hr",135,"million Btu/hr","Natural gas"]
["MNVersoPaper","Verso Paper Corp. - Sartell Mill","Sartell","MN","EU018 Bros","Boiler",1934,119,"million Btu/hr",119,"million Btu/hr","Coal: Bituminous"]
["MNWaldorfCorp","Waldorf Coporation","St. Paul","MN","EU001 (Boiler #1)","Boiler",1928,137,"million Btu/hr",137,"million Btu/hr","No. 6 Residual oil"]
["MNWaldorfCorp","Waldorf Coporation","St. Paul","MN","EU002 (Boiler #2)","Boiler",1947,200,"million Btu/hr",200,"million Btu/hr","No. 6 Residual oil"]
["MNWaldorfCorp","Waldorf Coporation","St. Paul","MN","EU003 (Boiler #3)","Boiler",1949,200,"million Btu/hr",200,"million Btu/hr","No. 6 Residual oil"]
["MNWaldorfCorp","Waldorf Coporation","St. Paul","MN","EU004 (Boiler #4)","Boiler",1964,232,"million Btu/hr",232,"million Btu/hr","No. 6 Residual oil"]
["MNWausauPaper-Brainerd","Wausau Paper Printing & Writing, LLC","Brainerd","MN","EU 001","Boiler",1987,95,"million Btu/hr",95,"million Btu/hr","Natural gas"]
["MNWausauPaper-Brainerd","Wausau Paper Printing & Writing, LLC","Brainerd","MN","EU 002","Boiler",1945,54,"million Btu/hr",54,"million Btu/hr","Coal: Bituminous"]
["MNWausauPaper-Brainerd","Wausau Paper Printing & Writing, LLC","Brainerd","MN","EU 003","Boiler",1958,107,"million Btu/hr",107,"million Btu/hr","Coal: Bituminous"]
["MNWausauPaper-Brainerd","Wausau Paper Printing & Writing, LLC","Brainerd","MN","EU 004","Boiler",1958,107,"million Btu/hr",107,"million Btu/hr","Coal: Bituminous"]
["MSBowaterSouth","Bowater Newsprint South Operations LLC","Grenada","MS","Bark Boiler","Boiler",1989,234,"million Btu/hr",234,"million Btu/hr","Wood: Bark"]
["MSBowaterSouth","Bowater Newsprint South Operations LLC","Grenada","MS","Package Boiler","Boiler",1989,176.5,"million Btu/hr",176.5,"million Btu/hr","Natural gas"]
["MSGeorgiaPacificMonticello","Georgia-Pacific Monticello Mill","Monticello","MS","AA-403 (UT-3) Combination Boiler","Boiler",1967,917.4,"million Btu/hr",917,"million Btu/hr","Hog Fuel"]
["MSGeorgiaPacificMonticello","Georgia-Pacific Monticello Mill","Monticello","MS","AA-404 (UT-4) Power Boiler","Boiler",1967,776,"million Btu/hr",776,"million Btu/hr","Natural gas"]
["MSGPNewAugusta","Georgia Pacific - Leaf River Cellulose, LLC","New Augusta","MS","AA-005-Package Boiler","Boiler",1983,190,"million Btu/hr",190,"million Btu/hr","NA"]
["MSGPNewAugusta","Georgia Pacific - Leaf River Cellulose, LLC","New Augusta","MS","AA-015 Power Boiler","Boiler",1983,642,"million Btu/hr",642,"million Btu/hr","Hog Fuel"]
["MSIPVicksburg","International Paper-Vicksburg Mill","Redwood","MS","Power Boiler-AA-006","Boiler",1967,870,"million Btu/hr",870,"million Btu/hr","Natural gas"]
["MSWeyerhaeuserColumbus","Weyerhaeuser Company","Columbus","MS","AA-012","Boiler",1979,1400,"million Btu/hr",1400,"million Btu/hr","Coal, #2 fuel oil, natural gas"]
["MSWeyerhaeuserColumbus","Weyerhaeuser Company","Columbus","MS","AA-019","Boiler",1993,380,"million Btu/hr",380,"million Btu/hr","Natural gas"]
["NCAlcan","Alcan Composites, USA, Inc.","Statesville","NC","ES-7","Boiler",1970,25.1,"million Btu/hr",25.1,"million Btu/hr","Natural gas"]
["NCBlueRidgePaper","Blue Ridge Paper Products Inc. dba Evergreen Packaging","Canton","NC","G11037","Boiler",1930,364,"million Btu/hr",364,"million Btu/hr","Coal: Bituminous"]
["NCBlueRidgePaper","Blue Ridge Paper Products Inc. dba Evergreen Packaging","Canton","NC","G11038","Boiler",1930,364,"million Btu/hr",364,"million Btu/hr","Coal: Bituminous"]
["NCBlueRidgePaper","Blue Ridge Paper Products Inc. dba Evergreen Packaging","Canton","NC","G11039","Boiler",1946,399,"million Btu/hr",399,"million Btu/hr","Coal: Bituminous"]
["NCBlueRidgePaper","Blue Ridge Paper Products Inc. dba Evergreen Packaging","Canton","NC","G11040","Boiler",1986,535,"million Btu/hr",535,"million Btu/hr","Coal: Bituminous"]
["NCBlueRidgePaper","Blue Ridge Paper Products Inc. dba Evergreen Packaging","Canton","NC","G11042","Boiler",1952,380,"million Btu/hr",380,"million Btu/hr","Coal: Bituminous"]
["NCDomtar","Domtar Paper Company, LLC","Plymouth","NC","64-25-0290 (No. 1 Hog Fuel Boiler)","Boiler",1977,650,"1000 lb steam/hr",747.4999999999999,"million Btu/hr","Combination firing of hog fuel, bituminous coal, a"]
["NCDomtar","Domtar Paper Company, LLC","Plymouth","NC","65-25-0310 (No. 2 Hog Fuel Boiler)","Boiler",1982,889,"million Btu/hr",889,"million Btu/hr","Combination firing of hog fuel, bituminous coal, a"]
["NCDomtar","Domtar Paper Company, LLC","Plymouth","NC","66-25-2050 (No. 1 Package Boiler)","Boiler",1996,360,"million Btu/hr",360,"million Btu/hr","No. 2 Distillate/No. 6 Residual oil/HVLC NCG combustion only"]
["NCElmersProducts","Elmer's Products, Inc.","Statesville","NC","","",null,null,"",null,"",""]
["NCInternationalPaperRiegelwood","International Paper Riegelwood Mill","Riegelwood","NC","PB1","Boiler",1951,250,"million Btu/hr",250,"million Btu/hr","No. 6 Residual oil"]
["NCInternationalPaperRiegelwood","International Paper Riegelwood Mill","Riegelwood","NC","PB2","Boiler",1957,425,"million Btu/hr",425,"million Btu/hr","unadulterated timber, unadulterated lumber,  saw d"]
["NCInternationalPaperRiegelwood","International Paper Riegelwood Mill","Riegelwood","NC","PB5","Boiler",1978,600,"million Btu/hr",600,"million Btu/hr","unadulterated timber, unadulterated lumber,  saw d"]
["NCJacksonPaperSylva","Jackson Paper Manufacturing Company","Sylva","NC","JP-021","Boiler",1982,145.1,"million Btu/hr",145.1,"million Btu/hr","Hog Fuel"]
["NCKapStone","KapStone Kraft Paper Corporation","Roanoke Rapids","NC","PB1","Boiler",1966,550,"million Btu/hr",550,"million Btu/hr","Sawdust, Bark, No. 6 Fuel Oil"]
["NCKapStone","KapStone Kraft Paper Corporation","Roanoke Rapids","NC","PKG2","Boiler",1974,185,"million Btu/hr",185,"million Btu/hr","No. 6 Fuel Oil"]
["NCShurtapeTech","Shurtape Technologies, LLC Plant No. 33 & 36","Hickory","NC","ES-33-BLR-B2","Boiler",1998,26.41,"million Btu/hr",26.41,"million Btu/hr","Natural gas"]
["NCShurtapeTech","Shurtape Technologies, LLC Plant No. 33 & 36","Hickory","NC","ES-33-BLR-B5","Boiler",1995,25.1,"million Btu/hr",25.1,"million Btu/hr","Natural gas"]
["NCShurtapeTech","Shurtape Technologies, LLC Plant No. 33 & 36","Hickory","NC","ES-36-BLR-B1","Boiler",2000,10.475,"million Btu/hr",10.475,"million Btu/hr","Natural gas"]
["NCShurtapeTech24","Shurtape Technologies, LLC Plant No. 24","Hudson","NC","ES-24-BLR-1","Boiler",1997,10.46,"million Btu/hr",10.46,"million Btu/hr","Natural gas"]
["NCWeyerhaeuser-Vanceboro","Weyerhaeuser Company Cellulose Fibers","Vanceboro","NC","ES 150-001","Boiler",1969,579,"million Btu/hr",579,"million Btu/hr","No. 6 Residual oil"]
["NCWeyerhaeuser-Vanceboro","Weyerhaeuser Company Cellulose Fibers","Vanceboro","NC","ES 161-001","Boiler",1996,287,"million Btu/hr",287,"million Btu/hr","No. 6 Residual oil"]
["NCWeyerhaeuser-Vanceboro","Weyerhaeuser Company Cellulose Fibers","Vanceboro","NC","ES 446-011","Other",1996,15,"million Btu/hr",15,"million Btu/hr","Black Liquor"]
["NJCovalence","Covalence Specialty Adhesives LLC","Middlesex","NJ","","",null,null,"",null,"",""]
["NJTempleInlandSpotswood","TIN Inc. - Spotswood Box Plant","Spotswood","NJ","CB Boiler No. 1","Boiler",1963,14.645,"million Btu/hr",14.645,"million Btu/hr","Natural gas"]
["NJTempleInlandSpotswood","TIN Inc. - Spotswood Box Plant","Spotswood","NJ","CB Boiler No. 2","Boiler",2003,14.288,"million Btu/hr",14.288,"million Btu/hr","Natural gas"]
["NJUSGypsumCo","United States Gypsum Co.","Clark","NJ","BOILER #1","Boiler",1947,60,"million Btu/hr",60,"million Btu/hr","No 6 Fuel Oil"]
["NJUSGypsumCo","United States Gypsum Co.","Clark","NJ","BOILER #2","Boiler",1947,60,"million Btu/hr",60,"million Btu/hr","No 6 Fuel Oil"]
["NJUSGypsumCo","United States Gypsum Co.","Clark","NJ","BOILER #3","Boiler",1947,60,"million Btu/hr",60,"million Btu/hr","No 6 Fuel Oil"]
["NYFinchPaper","Finch Paper LLC","Glens Falls","NY","#9 Woodwaste Boiler (BLR-1749)","Boiler",1977,150,"1000 lb steam/hr",172.5,"million Btu/hr","Mixture of bark, saw dust and other unadulterated "]
["NYHollingsworthVose","Hollingsworth & Vose Co. - Easton Mill","Greenwich","NY","00001","Boiler",1970,43.4,"million Btu/hr",43.4,"million Btu/hr","Natural gas/No. 6 Residual oil"]
["NYHollingsworthVose","Hollingsworth & Vose Co. - Easton Mill","Greenwich","NY","00002","Boiler",1970,32.5,"million Btu/hr",32.5,"million Btu/hr","Natural gas/No. 6 Residual oil"]
["NYInterfaceSolutions","Interface Solutions, Inc","Fulton","NY","# 4 Boiler","Boiler",1966,124,"million Btu/hr",124,"million Btu/hr","Natural gas"]
["NYInterfaceSolutions","Interface Solutions, Inc","Fulton","NY","# 5 Boiler","Boiler",1968,53,"million Btu/hr",53,"million Btu/hr","No. 6 Residual oil"]
["NYIntlPaperTiconderoga","International Paper Ticonderoga Mill","Ticonderoga","NY","PB1","Boiler",1970,855,"million Btu/hr",855,"million Btu/hr","No. 6 Residual oil"]
["OHAppletonIdeas","Appleton","West Carrollton","OH","Boiler 2 (B002)","Boiler",1960,156,"million Btu/hr",156,"million Btu/hr","Coal: Bituminous"]
["OHAppletonIdeas","Appleton","West Carrollton","OH","Boiler 3 (B001)","Boiler",1967,129,"million Btu/hr",129,"million Btu/hr","Natural gas"]
["OHAppletonIdeas","Appleton","West Carrollton","OH","Boiler 4 (B003)","Boiler",1968,245,"million Btu/hr",245,"million Btu/hr","Coal: Bituminous"]
["OHAveryDennison","Avery Dennison Reflective Products Div Bldg #7","Painesville","OH","","",null,null,"",null,"",""]
["OHAveryDennisonCleveland","Avery Dennison Cleveland Films Facility (Building #17)","Mentor","OH","","",null,null,"",null,"",""]
["OHAveryDennisonPainesville","Avery Dennison Painesville Films Facility (Building #03)","Painesville","OH","","",null,null,"",null,"",""]
["OHBluegrassMills","Bluegrass Mills Holding Co, LLC","Middletown","OH","B004","Boiler",1956,28,"million Btu/hr",28,"million Btu/hr","Natural gas"]
["OHBluegrassMills","Bluegrass Mills Holding Co, LLC","Middletown","OH","B005","Boiler",1992,72,"million Btu/hr",72,"million Btu/hr","Natural gas"]
["OHBluegrassMills","Bluegrass Mills Holding Co, LLC","Middletown","OH","B006","Boiler",1992,72,"million Btu/hr",72,"million Btu/hr","Natural gas"]
["OHMohawkPapersBeckett","Mohawk Fine Papers, Inc. - Beckett Mill","Hamilton","OH","B003","Boiler",1959,30000,"million Btu/hr",null,"unknown","Natural gas"]
["OHMohawkPapersBeckett","Mohawk Fine Papers, Inc. - Beckett Mill","Hamilton","OH","B004","Boiler",1963,79000,"million Btu/hr",null,"unknown","Natural gas"]
["OHMohawkPapersBeckett","Mohawk Fine Papers, Inc. - Beckett Mill","Hamilton","OH","B005","Boiler",1974,88000,"million Btu/hr",null,"unknown","Natural gas"]
["OHRockTennCincinnati","RockTenn Cincinnati Mill","Cincinnati","OH","B001","Boiler",1960,81,"million Btu/hr",81,"million Btu/hr","Coal: Bituminous"]
["OHSmartPapersHoldingsLLC","Smart Papers Holdings LLC","Hamilton","OH","B010","Boiler",1928,420,"million Btu/hr",420,"million Btu/hr","Coal: Bituminous"]
["OHSmartPapersHoldingsLLC","Smart Papers Holdings LLC","Hamilton","OH","B020","Boiler",1975,249,"million Btu/hr",249,"million Btu/hr","Coal: Bituminous"]
["OHSmurfitCoshocton","Smurfit-Stone Container Enterprises, Inc.","Coshocton","OH","B006","Boiler",1982,644,"million Btu/hr",644,"million Btu/hr","Natural Gas"]
["OHWausauPaperTowel","Wausau Paper Towel & Tissue, LLC","Middletown","OH","No. 1 Boiler","Boiler",1927,95,"million Btu/hr",95,"million Btu/hr","Coal: Bituminous"]
["OHWausauPaperTowel","Wausau Paper Towel & Tissue, LLC","Middletown","OH","No. 2 Boiler","Boiler",1927,95,"million Btu/hr",95,"million Btu/hr","Coal: Bituminous"]
["OHWausauPaperTowel","Wausau Paper Towel & Tissue, LLC","Middletown","OH","No. 3 Boiler","Boiler",1927,95,"million Btu/hr",95,"million Btu/hr","Coal: Bituminous"]
["OHWausauPaperTowel","Wausau Paper Towel & Tissue, LLC","Middletown","OH","No. 4 Boiler","Boiler",1945,174,"million Btu/hr",174,"million Btu/hr","Coal: Bituminous"]
["OKGPMuskogeeMill","Georgia-Pacific - Muskogee Mill","Muskogee","OK","B-1","Boiler",1977,220,"1000 lb steam/hr",252.99999999999997,"million Btu/hr","Natural gas"]
["OKGPMuskogeeMill","Georgia-Pacific - Muskogee Mill","Muskogee","OK","B-2","Boiler",1975,300,"1000 lb steam/hr",345,"million Btu/hr","Coal: Bituminous"]
["OKGPMuskogeeMill","Georgia-Pacific - Muskogee Mill","Muskogee","OK","B-3","Boiler",1979,400,"1000 lb steam/hr",459.99999999999994,"million Btu/hr","Coal: Sub-bituminous"]
["OKGPMuskogeeMill","Georgia-Pacific - Muskogee Mill","Muskogee","OK","B-4","Boiler",1982,400,"1000 lb steam/hr",459.99999999999994,"million Btu/hr","Coal: Sub-bituminous"]
["OKIPValliant","International Paper- Valliant Mill","Valliant","OK","Package Boiler EUG-D3","Boiler",1969,210,"million Btu/hr",210,"million Btu/hr","Natural gas"]
["OKIPValliant","International Paper- Valliant Mill","Valliant","OK","Power Boiler EUG-D2","Boiler",1972,945,"million Btu/hr",945,"million Btu/hr","Natural gas"]
["ORArclin","Arclin Surfaces, Inc. - Portland","Portland","OR","B1","Boiler",1945,25,"million Btu/hr",25,"million Btu/hr","Natural gas"]
["ORBlueHeronPaper","Blue Heron Paper Company","Oregon City","OR","A Boiler","Boiler",1949,69,"million Btu/hr",69,"million Btu/hr","Natural gas"]
["ORBlueHeronPaper","Blue Heron Paper Company","Oregon City","OR","B Boiler","Boiler",1949,69,"million Btu/hr",69,"million Btu/hr","Natural gas"]
["ORBlueHeronPaper","Blue Heron Paper Company","Oregon City","OR","C Boiler","Boiler",1949,69,"million Btu/hr",69,"million Btu/hr","Natural gas"]
["ORBlueHeronPaper","Blue Heron Paper Company","Oregon City","OR","D Boiler","Boiler",1949,69,"million Btu/hr",69,"million Btu/hr","Natural gas"]
["ORBlueHeronPaper","Blue Heron Paper Company","Oregon City","OR","E Boiler","Boiler",1982,160,"million Btu/hr",160,"million Btu/hr","Natural gas"]
["ORBlueHeronPaper","Blue Heron Paper Company","Oregon City","OR","G Boiler","Boiler",1949,112,"million Btu/hr",112,"million Btu/hr","Natural gas"]
["ORBoisePaperStHelens","Boise White Paper LLC - St Helens Mill","St. Helens","OR","No. 6 Power Boiler","Boiler",1976,215,"1000 lb steam/hr",247.24999999999997,"million Btu/hr","Natural gas"]
["ORBoisePaperStHelens","Boise White Paper LLC - St Helens Mill","St. Helens","OR","No. 7 Power Boiler","Boiler",1976,125,"1000 lb steam/hr",143.75,"million Btu/hr","Natural gas"]
["ORBoisePaperStHelens","Boise White Paper LLC - St Helens Mill","St. Helens","OR","No. 8 Power Boiler","Boiler",1976,10,"million Btu/hr",10,"million Btu/hr","Natural gas"]
["ORBoisePaperStHelens","Boise White Paper LLC - St Helens Mill","St. Helens","OR","No. 9 Power Boiler","Boiler",1967,200,"1000 lb steam/hr",229.99999999999997,"million Btu/hr","Natural gas"]
["ORGeorgiaPacificWaunaMill","Georgia-Pacific; Wauna Mill","Clatskanie","OR","EU33 - Power Boiler","Boiler",1965,420000,"1000 lb steam/hr",null,"unknown","Natural gas/No. 6 Residual oil and Natural gas"]
["ORGeorgiaPacificWaunaMill","Georgia-Pacific; Wauna Mill","Clatskanie","OR","EU34 - Package Boiler","Boiler",1973,191.6,"million Btu/hr",191.6,"million Btu/hr","Natural gas"]
["ORGeorgiaPacificWaunaMill","Georgia-Pacific; Wauna Mill","Clatskanie","OR","EU35 - Fluidized Bed Boiler","Boiler",1996,179,"million Btu/hr",179,"million Btu/hr","Waste Water Sludge, Natural Gas"]
["ORGPToledo","Georgia-Pacific Toledo, Oregon","Toledo","OR","EU13 - Power Boiler #1","Boiler",1957,187.5,"million Btu/hr",187.5,"million Btu/hr","Natural gas"]
["ORGPToledo","Georgia-Pacific Toledo, Oregon","Toledo","OR","EU18 - Power Boiler #3","Boiler",1975,156.3,"million Btu/hr",156.3,"million Btu/hr","Natural gas"]
["ORGPToledo","Georgia-Pacific Toledo, Oregon","Toledo","OR","EU22 - Power Boiler #5","Boiler",1995,352.2,"million Btu/hr",352.2,"million Btu/hr","Natural gas"]
["ORIntelicoat Tech","Intelicoat Technologies LLC","Portland","OR","01","Boiler",1979,16.738,"million Btu/hr",16.738,"million Btu/hr","Natural gas"]
["ORIPSpringfield","International Paper - Springfield Mill","Springfield","OR","#2 Lime Kiln","Kiln",1953,40,"million Btu/hr",40,"million Btu/hr","Natural gas"]
["ORIPSpringfield","International Paper - Springfield Mill","Springfield","OR","#3 Lime Kiln","Kiln",1964,90,"million Btu/hr",90,"million Btu/hr","Natural gas"]
["ORIPSpringfield","International Paper - Springfield Mill","Springfield","OR","Package Boiler","Boiler",1993,340,"million Btu/hr",340,"million Btu/hr","Natural gas"]
["ORIPSpringfield","International Paper - Springfield Mill","Springfield","OR","Power Boiler","Boiler",1964,513.5,"million Btu/hr",513.5,"million Btu/hr","Natural gas"]
["ORSPNewsprint","SP Newsprint Co., LLC  -  Newberg Mill","Newberg","OR","B10-EU","Boiler",1980,567,"million Btu/hr",567,"million Btu/hr","Biomass"]
["ORSPNewsprint","SP Newsprint Co., LLC  -  Newberg Mill","Newberg","OR","B6-EU","Boiler",1967,153,"million Btu/hr",153,"million Btu/hr","Natural gas"]
["ORSPNewsprint","SP Newsprint Co., LLC  -  Newberg Mill","Newberg","OR","B7-EU","Boiler",1967,153,"million Btu/hr",153,"million Btu/hr","Natural gas"]
["ORSPNewsprint","SP Newsprint Co., LLC  -  Newberg Mill","Newberg","OR","B9-EU","Boiler",1975,274,"million Btu/hr",274,"million Btu/hr","Biomass"]
["ORWestLinn","West Linn Paper Company","West Linn","OR","B1","Boiler",1941,140000,"lb/hour",null,"unknown",""]
["ORWestLinn","West Linn Paper Company","West Linn","OR","B2","Boiler",1941,140000,"lb/hour",null,"unknown",""]
["ORWestLinn","West Linn Paper Company","West Linn","OR","B3","Boiler",1947,230000,"lb/hour",null,"unknown",""]
["PAAdhesiveResearch","Adhesives Research, Inc.","Glen Rock","PA","Bldg 1 Boiler","Boiler",1974,12.6,"million Btu/hr",12.6,"million Btu/hr","Natural gas"]
["PAAppletonPapers","Appleton Papers / Spring Mill","Roaring Springs","PA","#033","Boiler",1995,205.03,"million Btu/hr",205.03,"million Btu/hr","Natural gas"]
["PAAppletonPapers","Appleton Papers / Spring Mill","Roaring Springs","PA","#036","Boiler",1977,180,"million Btu/hr",180,"million Btu/hr","Coal: Bituminous"]
["PAAveryDennisonFRNAQuakertown","Avery Dennison FRNA","Quakertown","PA","","",null,null,"",null,"",""]
["PACascadesTissueGroup","Cascades Tissue Group PA, Inc - Ransom Mill","Ransom","PA","Boiler #1","Boiler",1961,42,"million Btu/hr",42,"million Btu/hr","Natural gas"]
["PACascadesTissueGroup","Cascades Tissue Group PA, Inc - Ransom Mill","Ransom","PA","Boiler #2","Boiler",1961,42,"million Btu/hr",42,"million Btu/hr","Natural gas"]
["PACascadesTissueGroup","Cascades Tissue Group PA, Inc - Ransom Mill","Ransom","PA","PM #3 Hood","Process Heater",null,15,"million Btu/hr",15,"million Btu/hr","Natural gas"]
["PACascadesTissueGroup","Cascades Tissue Group PA, Inc - Ransom Mill","Ransom","PA","PM #4 Hood","Boiler",null,14,"million Btu/hr",14,"million Btu/hr","Natural gas"]
["PADomtarJohnsonburg","Domtar - Johnsonburg Mill","Johnsonburg","PA","#7 Package Boiler","Boiler",1975,180,"million Btu/hr",180,"million Btu/hr","Natural gas"]
["PADomtarJohnsonburg","Domtar - Johnsonburg Mill","Johnsonburg","PA","#81 Coal Boiler","Boiler",1984,null,"million Btu/hr",246,"million Btu/hr","Coal: Bituminous"]
["PADomtarJohnsonburg","Domtar - Johnsonburg Mill","Johnsonburg","PA","#82 Coal Boiler","Boiler",1984,null,"million Btu/hr",246.6666667,"million Btu/hr","Coal: Bituminous"]
["PADopaco","Dopaco Downingtown","Downingtown","PA","Cleaver Brooks Boiler","Boiler",1985,14,"million Btu/hr",14,"million Btu/hr","Natural gas"]
["PAPHGlatfelter","P. H. Glatfelter Company--Spring Grove Mill","Spring Grove","PA","PB1","Boiler",1965,262.3,"million Btu/hr",262.3,"million Btu/hr","Coal: Bituminous"]
["PAPHGlatfelter","P. H. Glatfelter Company--Spring Grove Mill","Spring Grove","PA","PB3","Boiler",1948,140.1,"million Btu/hr",140.1,"million Btu/hr","Coal: Bituminous"]
["PAPHGlatfelter","P. H. Glatfelter Company--Spring Grove Mill","Spring Grove","PA","PB4","Boiler",1956,363.7,"million Btu/hr",363.7,"million Btu/hr","Coal: Bituminous"]
["PAPHGlatfelter","P. H. Glatfelter Company--Spring Grove Mill","Spring Grove","PA","PB5","Boiler",1989,545,"million Btu/hr",545,"million Btu/hr","Coal: Bituminous"]
["PAProctorGambleMehoopanyPA","The Procter & Gamble Paper Products Co., Mehoopany","Mehoopany","PA","Aux Boiler (036)","Boiler",1996,80,"million Btu/hr",80,"million Btu/hr","Natural gas"]
["PAProctorGambleMehoopanyPA","The Procter & Gamble Paper Products Co., Mehoopany","Mehoopany","PA","Boiler #1 (031)","Boiler",1966,242,"million Btu/hr",242,"million Btu/hr","Natural gas"]
["PAProctorGambleMehoopanyPA","The Procter & Gamble Paper Products Co., Mehoopany","Mehoopany","PA","Boiler #2 (032A)","Boiler",1967,233,"million Btu/hr",233,"million Btu/hr","Natural gas"]
["PAProctorGambleMehoopanyPA","The Procter & Gamble Paper Products Co., Mehoopany","Mehoopany","PA","Boiler #3 (033A)","Boiler",1968,156,"million Btu/hr",156,"million Btu/hr","Natural gas"]
["PAProctorGambleMehoopanyPA","The Procter & Gamble Paper Products Co., Mehoopany","Mehoopany","PA","Boiler #4 (034A)","Boiler",1969,156,"million Btu/hr",156,"million Btu/hr","Natural gas"]
["PARockTennStroudsburg","RockTenn, Stroudsburg Mill","Delaware Water Gap","PA","NO. 1 Babcock and Wilcox Boiler","Boiler",1994,98.5,"million Btu/hr",98.5,"million Btu/hr","Natural gas"]
["PASealedAirModena","Sealed Air Corp/Modena, PA","Modena","PA","031 Boiler #1","Boiler",1968,46,"million Btu/hr",46,"million Btu/hr","Natural gas"]
["PASealedAirModena","Sealed Air Corp/Modena, PA","Modena","PA","110 Emergency Generator","Emergency Generator",1999,1.4,"million Btu/hr",1.4,"million Btu/hr","Diesel fuel"]
["PASealedAirModena","Sealed Air Corp/Modena, PA","Modena","PA","111 Emergency Fire Pump","Other",1978,1.233,"million Btu/hr",1.233,"million Btu/hr","Diesel fuel"]
["PASealedAirReading","Sealed Air Corp/Reading Paper","Reading","PA","031 Boiler #1","Boiler",1949,41,"million Btu/hr",41,"million Btu/hr","Natural gas"]
["PASealedAirReading","Sealed Air Corp/Reading Paper","Reading","PA","033 Boiler #3","Boiler",2001,29.9,"million Btu/hr",29.9,"million Btu/hr","Natural gas"]
["PASealedAirReading","Sealed Air Corp/Reading Paper","Reading","PA","102 Emergency generator","Emergency Generator",1974,0.165,"million Btu/hr",0.165,"million Btu/hr","Natural gas"]
["PATeamTen","Team Ten/Tyrone Paper Mill","Tyrone","PA","033A Babcock and Wilcox No. 7 Boiler","Boiler",1957,236,"million Btu/hr",236,"million Btu/hr","Coal: Bituminous"]
["SCBowaterCoatedPaper","Bowater Coated Paper Division","Catawba","SC","Combination Boiler No. 1","Boiler",1959,405,"million Btu/hr",405,"million Btu/hr","Natural gas"]
["SCBowaterCoatedPaper","Bowater Coated Paper Division","Catawba","SC","Combination Boiler No. 2","Boiler",1968,720,"million Btu/hr",720,"million Btu/hr","Natural gas"]
["SCBowaterCoatedPaper","Bowater Coated Paper Division","Catawba","SC","Paper Machine No. 3 Hot Oil Heater","Process Heater",2003,9.1,"million Btu/hr",9.1,"million Btu/hr","Natural gas"]
["SCBowaterCoatedPaper","Bowater Coated Paper Division","Catawba","SC","Paper Machine No. 3 Infrared Dryer","Process Heater",2003,22.6,"million Btu/hr",22.6,"million Btu/hr","Natural gas"]
["SCBowaterCoatedPaper","Bowater Coated Paper Division","Catawba","SC","Power Boiler","Boiler",1959,375,"million Btu/hr",375,"million Btu/hr","Natural gas"]
["SCCogenSouth","Cogen South L.L.C.","North Charleston","SC","B001 - Main Boiler","Boiler",1999,1337,"million Btu/hr",1337,"million Btu/hr","woodwaste, on spec used oil generated on-site, No."]
["SCCogenSouth","Cogen South L.L.C.","North Charleston","SC","B002 - Auxiliary Boiler #1","Boiler",1999,313,"million Btu/hr",313,"million Btu/hr","No. 2 fuel oil"]
["SCCogenSouth","Cogen South L.L.C.","North Charleston","SC","B003 - Auxiliary Boiler #2","Boiler",1999,313,"million Btu/hr",313,"million Btu/hr","No. 2 fuel oil"]
["SCCogenSouth","Cogen South L.L.C.","North Charleston","SC","B004 - Auxiliary Boiler #3","Boiler",1999,313,"million Btu/hr",313,"million Btu/hr","No. 2 fuel oil"]
["SCInternationalPaperEastover","International Paper Eastover Mill","Eastover","SC","No. 1 Power Boiler","Boiler",1982,545,"million Btu/hr",545,"million Btu/hr","Coal: Bituminous"]
["SCInternationalPaperEastover","International Paper Eastover Mill","Eastover","SC","No. 2 Power Boiler","Boiler",1989,500,"million Btu/hr",500,"million Btu/hr","Mix of (unadulterated) bark and woodwaste (bark, f"]
["SCIP-2301","International Paper-Georgetown Container","Georgetown","SC","B-1","Boiler",1981,25.1,"million Btu/hr",25.1,"million Btu/hr","Natural gas"]
["SCIPGeorgetown","International Paper - Georgetown Mill","Georgetown","SC","PB01","Boiler",1982,592,"million Btu/hr",592,"million Btu/hr","Wood:bark"]
["SCIPGeorgetown","International Paper - Georgetown Mill","Georgetown","SC","PB02","Boiler",1982,592,"million Btu/hr",592,"million Btu/hr","Wood:bark"]
["SCMarlboroPaper","Marlboro Paper Mill","Bennettsville","SC","Hogged Fuel Boiler","Boiler",1989,470,"million Btu/hr",470,"million Btu/hr","Hog Fuel"]
["SCMarlboroPaper","Marlboro Paper Mill","Bennettsville","SC","Package Boiler","Boiler",1989,305,"million Btu/hr",305,"million Btu/hr","Natural gas"]
["SCSmurfitStone","Smurfit-Stone Container Enterprises, Inc.","Florence","SC","Unit 15: Boiler #1","Boiler",1963,245,"million Btu/hr",245,"million Btu/hr","Biomass"]
["SCSmurfitStone","Smurfit-Stone Container Enterprises, Inc.","Florence","SC","Unit 15: Boiler #3","Boiler",1963,343,"million Btu/hr",343,"million Btu/hr","Biomass"]
["SCSmurfitStone","Smurfit-Stone Container Enterprises, Inc.","Florence","SC","Unit 16: Boiler #4","Boiler",1987,955,"million Btu/hr",955,"million Btu/hr","Biomass, #6 oil"]
["SCSonocoHartsville","Sonoco Products Company","Hartsville","SC","Boiler Number 2","Boiler",1946,101,"million Btu/hr",101,"million Btu/hr","#6 Fuel oil and onsite used oil"]
["SCSonocoHartsville","Sonoco Products Company","Hartsville","SC","Boiler Number 3","Boiler",1950,178,"million Btu/hr",178,"million Btu/hr","#6 Fuel oil, onsite used oil and natural gas"]
["SCSonocoHartsville","Sonoco Products Company","Hartsville","SC","Boiler Number 4","Boiler",1957,380,"million Btu/hr",380,"million Btu/hr","#6 Fuel oil and onsite used oil"]
["SCSonocoHartsville","Sonoco Products Company","Hartsville","SC","Boiler Number 6","Boiler",1974,166,"million Btu/hr",166,"million Btu/hr","Natural gas"]
["SCSonocoHartsville","Sonoco Products Company","Hartsville","SC","Boiler Number 9","Boiler",1997,180,"million Btu/hr",180,"million Btu/hr","wood, waste fuels, plastic, pallets"]
["TNBowaterNewsprint","Bowater Newsprint - Calhoun Operations","Calhoun","TN","Bubbling Fluidized Bed Boiler","Boiler",1997,877,"",877,"million Btu/hr","Hog Fuel"]
["TNBowaterNewsprint","Bowater Newsprint - Calhoun Operations","Calhoun","TN","Power Boiler No. 1","Boiler",1956,214,"million Btu/hr",214,"million Btu/hr","Coal: Bituminous"]
["TNBowaterNewsprint","Bowater Newsprint - Calhoun Operations","Calhoun","TN","Power Boiler No. 2","Boiler",1957,460,"million Btu/hr",460,"million Btu/hr","Coal: Bituminous"]
["TNBowaterNewsprint","Bowater Newsprint - Calhoun Operations","Calhoun","TN","Power Boiler No. 3","Boiler",1957,460,"million Btu/hr",460,"million Btu/hr","Coal: Bituminous"]
["TNDomtar2384","Domtar Paper Company, LLC","Kingsport","TN","HFB1-1","Boiler",1998,544,"million Btu/hr",544,"million Btu/hr","Hog Fuel"]
["TNKimberlyClark2396","Kimberly-Clark Corporation, Loudon Mill","Loudon","TN","Nebraska","Boiler",1990,75.2,"million Btu/hr",75.2,"million Btu/hr","Natural gas"]
["TNPackagingCorpCounce","Packaging Corporation of America, Counce Mill","Counce","TN","Combination Boiler #1","Boiler",1961,400,"million Btu/hr",400,"million Btu/hr","Natural gas"]
["TNTempleInland2426","Temple-Inland, Inc","Waverly","TN","5100F-A","Boiler",1970,192,"million Btu/hr",192,"million Btu/hr","Natural gas"]
["TNTempleInland2426","Temple-Inland, Inc","Waverly","TN","5100F-B","Boiler",1970,192,"million Btu/hr",192,"million Btu/hr","Natural gas"]
["TXInternationalPaperQueenCity","International Paper Texarkana Mill","Queen City","TX","PB01","Boiler",1972,946,"million Btu/hr",946,"million Btu/hr","Natural gas"]
["TXMeadWestvacoEvadale","MeadWestvaco Texas, L.P.","Evadale","TX","21-2069","Boiler",1984,690,"million Btu/hr",690,"million Btu/hr","Biomass"]
["TXMeadWestvacoEvadale","MeadWestvaco Texas, L.P.","Evadale","TX","21-2081","Boiler",1994,318,"million Btu/hr",318,"million Btu/hr","Natural gas"]
["TXMeadWestvacoEvadale","MeadWestvaco Texas, L.P.","Evadale","TX","21-2104","Boiler",1954,316,"million Btu/hr",316,"million Btu/hr","Natural gas"]
["TXMeadWestvacoEvadale","MeadWestvaco Texas, L.P.","Evadale","TX","21-2105","Boiler",1962,750,"18,650 btu/hr.-cu.ft on bark",750,"million Btu/hr","scrap tubular cores for paer rolls (made of unbleached cellulose fiber)/Natural Gas"]
["VABearIslandPaperCoAshland","Bear Island Paper Company, L.L.C.","Ashland","VA","Unit Ref #2 (Combo Boiler)","Boiler",1979,243,"million Btu/hr",243,"million Btu/hr","Coal: Bituminous"]
["VABearIslandPaperCoAshland","Bear Island Paper Company, L.L.C.","Ashland","VA","Unit Ref #3 (Package Boiler)","Boiler",1995,255,"million Btu/hr",255,"million Btu/hr","Natural gas"]
["VAGPBigIsland2703","Georgia Pacific - Big Island","Big Island","VA","PWR04 - No. 4 Power Boiler","Boiler",1943,284,"million Btu/hr",284,"million Btu/hr","Coal: Bituminous"]
["VAGPBigIsland2703","Georgia Pacific - Big Island","Big Island","VA","PWR05 - No. 5 Power Boiler","Boiler",1947,334,"million Btu/hr",334,"million Btu/hr","Wood: Bark"]
["VAGPBigIsland2703","Georgia Pacific - Big Island","Big Island","VA","PWR06 - No. 6 Boiler","Boiler",1995,284.9,"million Btu/hr",284.9,"million Btu/hr","Natural gas"]
["VAGreenBayPackaging","Green Bay Packaging Inc., Winchester Coated Products Division","Winchester","VA","","",null,null,"",null,"",""]
["VAGreif","Greif Packaging LLC","Amherst","VA","BLR01","Boiler",1975,225,"million Btu/hr",225,"million Btu/hr","No. 6 Residual oil"]
["VAGreif","Greif Packaging LLC","Amherst","VA","BLR02","Boiler",1975,225,"million Btu/hr",225,"million Btu/hr","No. 6 Residual oil"]
["VAGreif","Greif Packaging LLC","Amherst","VA","BLR03","Boiler",1965,100,"million Btu/hr",100,"million Btu/hr","Natural gas"]
["VAGreif","Greif Packaging LLC","Amherst","VA","BLR05","Boiler",2000,244,"million Btu/hr",244,"million Btu/hr","Wood: Bark"]
["VAGreif","Greif Packaging LLC","Amherst","VA","CR05","Recovery Furnace",1975,175,"million Btu/hr",175,"million Btu/hr","No. 6 Residual oil"]
["VAMeadWestVaco-CovingtonVA","MeadWestvaco of Virginia, Inc","Covington","VA","PWR006","Boiler",1940,550,"million Btu/hr",550,"million Btu/hr","No. 2 Distillate"]
["VAMeadWestVaco-CovingtonVA","MeadWestvaco of Virginia, Inc","Covington","VA","PWR007","Boiler",1950,440,"million Btu/hr",440,"million Btu/hr","Wood: Bark, No. 2 Distillate"]
["VAMeadWestVaco-CovingtonVA","MeadWestvaco of Virginia, Inc","Covington","VA","PWR008","Boiler",1955,580,"million Btu/hr",580,"million Btu/hr","Wood:Bark, No. 2 Distillate"]
["VAMeadWestVaco-CovingtonVA","MeadWestvaco of Virginia, Inc","Covington","VA","PWR009","Boiler",1964,807,"million Btu/hr",807,"million Btu/hr","No. 2 Distillate"]
["VAMeadWestVaco-CovingtonVA","MeadWestvaco of Virginia, Inc","Covington","VA","PWR010","Boiler",1971,330,"million Btu/hr",330,"million Btu/hr","No. 2 Distillate"]
["VAMeadWestVaco-CovingtonVA","MeadWestvaco of Virginia, Inc","Covington","VA","PWR011","Boiler",1993,425,"million Btu/hr",425,"million Btu/hr","No. 2 Distillate"]
["VASmurfitStoneHopewell","Smurfit Stone Container Corp - Hopewell Mill","Hopewell","VA","Combination Boiler","Boiler",1979,846,"million Btu/hr",846,"million Btu/hr","Coal and wood residue"]
["VASmurfitStoneHopewell","Smurfit Stone Container Corp - Hopewell Mill","Hopewell","VA","Lime Kiln","Kiln",1967,110,"million Btu/hr",110,"million Btu/hr","No. 6 Residual oil"]
["VASmurfitStoneWestpt","Smurfit-Stone Container Enterprises, Inc. West Point","West Point","VA","PB08","Boiler",1964,553,"million Btu/hr",553,"million Btu/hr","Coal: Bituminous"]
["VASmurfitStoneWestpt","Smurfit-Stone Container Enterprises, Inc. West Point","West Point","VA","PB10","Boiler",1981,659,"million Btu/hr",659,"million Btu/hr","Bark and unadulterated wood waste"]
["WABoisePaperWallula","Boise White Paper L.L.C. - Wallula","Wallula","WA","#1 Power Boiler","Boiler",1958,140,"1000 lb steam/hr",161,"million Btu/hr","Natural gas"]
["WABoisePaperWallula","Boise White Paper L.L.C. - Wallula","Wallula","WA","#2 Power Boiler","Boiler",1958,140,"1000 lb steam/hr",161,"million Btu/hr","Natural gas"]
["WABoisePaperWallula","Boise White Paper L.L.C. - Wallula","Wallula","WA","Hog Fuel Boiler","Boiler",1978,235,"1000 lb steam/hr",270.25,"million Btu/hr","Hog Fuel"]
["WAGPCamas","Georgia-Pacific Consumer Products (Camas) LLC","Camas","WA","No. 3 Power Boiler","Boiler",1948,240,"1000 lb steam/hr",276,"million Btu/hr","Natural gas"]
["WAGPCamas","Georgia-Pacific Consumer Products (Camas) LLC","Camas","WA","No. 5 Power Boiler","Boiler",1970,318,"million Btu/hr",318,"million Btu/hr","Natural gas"]
["WAGraysHarborPaper","Grays Harbor Paper, L. P.","Hoquiam","WA","No. 6 Boiler (EU2)","Boiler",1952,210,"million Btu/hr",210,"million Btu/hr","Wood: Bark"]
["WAGraysHarborPaper","Grays Harbor Paper, L. P.","Hoquiam","WA","No. 8 Boiler (EU1)","Boiler",1976,400,"million Btu/hr",400,"million Btu/hr","Wood: Bark"]
["WAGraysHarborPaper","Grays Harbor Paper, L. P.","Hoquiam","WA","No. 9 Boiler (EU3)","Boiler",1981,65.3,"million Btu/hr",65.3,"million Btu/hr","Natural gas"]
["WAKimberlyClarkEverett","Kimberly-Clark Corporation, Everett Mill","Everett","WA","No. 14 Cogeneration Boiler","Boiler",1995,435,"at 825 psi and 850 deg. F.",435,"million Btu/hr","Natural Gas, #2 Diesel"]
["WAKimberlyClarkEverett","Kimberly-Clark Corporation, Everett Mill","Everett","WA","No. 7 Power Boiler","Boiler",1953,150,"at 300 psi and 495 deg. F.",150,"million Btu/hr","Natural gas"]
["WAKimberlyClarkEverett","Kimberly-Clark Corporation, Everett Mill","Everett","WA","No. 8 Power Boiler","Boiler",1954,165,"at 300 psi and 495 deg. F.",165,"million Btu/hr","#2 Diesel"]
["WAKimberlyClarkEverett","Kimberly-Clark Corporation, Everett Mill","Everett","WA","No. 9 Power Boiler","Boiler",1955,165,"at 300 psi and 495 deg. F.",165,"million Btu/hr","#2 Diesel"]
["WALongviewFPP","Longview Fibre Paper & Packaging, Inc.","Longview","WA","#16 Power Boiler","Boiler",1956,525,"million Btu/hr",525,"million Btu/hr","Natural gas"]
["WANipponPaper","Nippon Paper Industries USA Co. Ltd.","Port Angeles","WA","#10 Package Boiler","Boiler",1982,100,"1000 lb steam/hr",114.99999999999999,"million Btu/hr","No. 6 Residual oil"]
["WANipponPaper","Nippon Paper Industries USA Co. Ltd.","Port Angeles","WA","#8 Hog Fuel Boiler","Boiler",1953,140,"1000 lb steam/hr",161,"million Btu/hr","No. 6 Residual oil"]
["WANipponPaper","Nippon Paper Industries USA Co. Ltd.","Port Angeles","WA","#9 Package Boiler","Boiler",1964,100,"1000 lb steam/hr",114.99999999999999,"million Btu/hr","No. 6 Residual oil"]
["WASimpsonTacoma2784","Simpson Tacoma Kraft Company, LLC","Tacoma","WA","#1 Lime Kiln","Kiln",1960,100,"million Btu/hr",100,"million Btu/hr","Used Petroleum-based Oil"]
["WASimpsonTacoma2784","Simpson Tacoma Kraft Company, LLC","Tacoma","WA","#2 Lime Kiln","Kiln",1973,22,"million Btu/hr",22,"million Btu/hr","Used Petrolum-based Oil"]
["WASimpsonTacoma2784","Simpson Tacoma Kraft Company, LLC","Tacoma","WA","#4 Recovery Boiler","Recovery Boiler",1973,590,"1000 lb steam/hr",678.5,"million Btu/hr","Black Liquor"]
["WASimpsonTacoma2784","Simpson Tacoma Kraft Company, LLC","Tacoma","WA","#7 PB","Boiler",1991,300,"1000 lb steam/hr",345,"million Btu/hr","oil and gas"]
["WAWeyerhaeuserLongview","Weyerhaeuser Company, Longview Operations","Longview","WA","NCG Thermal Oxidizer","Other",1985,18,"million Btu/hr",18,"million Btu/hr","Natural gas"]
["WAWeyerhaeuserLongview","Weyerhaeuser Company, Longview Operations","Longview","WA","No. 11 Hog Fuel Boiler","Boiler",1975,550,"1000 lb steam/hr",632.5,"million Btu/hr","Hog Fuel"]
["WAWeyerhaeuserLongview","Weyerhaeuser Company, Longview Operations","Longview","WA","No. 6 Power Boiler","Boiler",1952,177,"million Btu/hr",177,"million Btu/hr","Natural gas"]
["WAWeyerhaeuserLongview","Weyerhaeuser Company, Longview Operations","Longview","WA","No. 7 Power Boiler","Boiler",1952,261,"million Btu/hr",261,"million Btu/hr","Natural gas"]
["WAWeyerhaeuserLongview","Weyerhaeuser Company, Longview Operations","Longview","WA","No. 9 Power Boiler","Boiler",1961,558,"million Btu/hr",558,"million Btu/hr","Natural gas"]
["WIAppleton","Appleton Papers Inc","Appleton","WI","B03 Space Heaters","Process Heater",1972,92.9,"million Btu/hr",92.9,"million Btu/hr","Natural gas"]
["WIAppleton","Appleton Papers Inc","Appleton","WI","B22 Coal Fired Boiler","Boiler",1947,44,"million Btu/hr",44,"million Btu/hr","Coal: Bituminous"]
["WIAppleton","Appleton Papers Inc","Appleton","WI","B23 Gas Boiler","Boiler",1974,91.9,"million Btu/hr",91.9,"million Btu/hr","Natural gas"]
["WIAppleton","Appleton Papers Inc","Appleton","WI","P30 Process Dryer","Process Heater",1964,11.2,"million Btu/hr",11.2,"million Btu/hr","Natural gas"]
["WIAppleton","Appleton Papers Inc","Appleton","WI","P32 Process dryers","Process Heater",1947,354.7,"million Btu/hr",354.7,"million Btu/hr","Natural gas"]
["WIAppletonCoated","Appleton Coated L.L.C. - Locks Mill","Combined Locks","WI","B05","Boiler",1993,285,"million Btu/hr",285,"million Btu/hr","Natural gas"]
["WIAppletonCoated","Appleton Coated L.L.C. - Locks Mill","Combined Locks","WI","B20","Boiler",1964,136,"million Btu/hr",136,"million Btu/hr","Natural gas"]
["WIAppletonCoated","Appleton Coated L.L.C. - Locks Mill","Combined Locks","WI","B22","Boiler",1972,126.5,"million Btu/hr",126.5,"million Btu/hr","Natural gas"]
["WIAppletonCoated","Appleton Coated L.L.C. - Locks Mill","Combined Locks","WI","B23","Boiler",1985,341,"million Btu/hr",341,"million Btu/hr","Coal: Bituminous"]
["WICascadestissue","Cascades Tissue Group - WI","Eau Claire","WI","B25","Boiler",1988,125,"million Btu/hr",125,"million Btu/hr","Natural gas"]
["WICascadestissue","Cascades Tissue Group - WI","Eau Claire","WI","B27","Boiler",1999,146.6,"million Btu/hr",146.6,"million Btu/hr","Natural gas"]
["WICascadestissue","Cascades Tissue Group - WI","Eau Claire","WI","P30 (#5PM Hood)","Other",1965,14,"million Btu/hr",14,"million Btu/hr","Natural gas"]
["WICelluTissueNeenah","Cellu Tissue Neenah","Neenah","WI","Boiler No. 1","Boiler",1942,42.6,"million Btu/hr",42.6,"million Btu/hr","Natural gas"]
["WICelluTissueNeenah","Cellu Tissue Neenah","Neenah","WI","Boiler No. 2","Boiler",1925,38.1,"million Btu/hr",38.1,"million Btu/hr","Natural gas"]
["WICelluTissueNeenah","Cellu Tissue Neenah","Neenah","WI","Boiler No. 3","Boiler",1964,71.9,"million Btu/hr",71.9,"million Btu/hr","Natural gas"]
["WIDomtar2814","Domtar Paper Company, LLC - Rothschild","Rothschild","WI","B10, S10","Boiler",1976,200,"million Btu/hr",200,"million Btu/hr","No. 2 Distillate"]
["WIDomtar2814","Domtar Paper Company, LLC - Rothschild","Rothschild","WI","B11, S11","Boiler",1972,120,"million Btu/hr",120,"million Btu/hr","Wood: Unadulterated Timber"]
["WIDomtar2814","Domtar Paper Company, LLC - Rothschild","Rothschild","WI","B12, S12","Boiler",1976,200,"million Btu/hr",200,"million Btu/hr","No. 2 Distillate"]
["WIDomtar2814","Domtar Paper Company, LLC - Rothschild","Rothschild","WI","B13, S13","Boiler",1976,150,"million Btu/hr",150,"million Btu/hr","No. 2 Distillate"]
["WIDomtarNekoosa","Domtar A.W. Corp - Nekoosa","Nekoosa","WI","B20 - Boiler No. 1","Boiler",1947,153.4,"million Btu/hr",153.4,"million Btu/hr","Coal: Bituminous"]
["WIDomtarNekoosa","Domtar A.W. Corp - Nekoosa","Nekoosa","WI","B21 - Boiler No. 2","Boiler",1952,153.4,"million Btu/hr",153.4,"million Btu/hr","Coal: Bituminous"]
["WIDomtarNekoosa","Domtar A.W. Corp - Nekoosa","Nekoosa","WI","B22 - Boiler No. 7","Boiler",1942,148.4,"million Btu/hr",148.4,"million Btu/hr","Natural gas"]
["WIDomtarNekoosa","Domtar A.W. Corp - Nekoosa","Nekoosa","WI","B24 - Boiler No. 10","Boiler",1966,303.2,"million Btu/hr",303.2,"million Btu/hr","Coal: Bituminous"]
["WIFlambeauRiverPaper","Flambeau River Papers LLC","Park Falls","WI","B20","Boiler",1968,90,"million Btu/hr",90,"million Btu/hr","Natural gas"]
["WIFlambeauRiverPaper","Flambeau River Papers LLC","Park Falls","WI","B23","Boiler",1976,180,"million Btu/hr",180,"million Btu/hr","tar"]
["WIFlambeauRiverPaper","Flambeau River Papers LLC","Park Falls","WI","B24","Boiler",1982,249,"million Btu/hr",249,"million Btu/hr","coal"]
["WIFlambeauRiverPaper","Flambeau River Papers LLC","Park Falls","WI","B27","Boiler",2000,145,"million Btu/hr",145,"million Btu/hr","Natural gas"]
["WIGPGreenBay1983","Georgia Pacific - Green Bay Day Street","Green Bay","WI","Boiler 3 (Part of Permitted B01)","Boiler",1947,138.4,"million Btu/hr",138.4,"million Btu/hr","Natural gas"]
["WIGPGreenBay1983","Georgia Pacific - Green Bay Day Street","Green Bay","WI","Boiler 4 (Part of Permitted B01)","Boiler",1952,186.9,"million Btu/hr",186.9,"million Btu/hr","Natural gas"]
["WIGPGreenBay2818","Georgia Pacific - Green Bay Broadway","Green Bay","WI","B10 - Wastepaper Sludge-Fired Boiler 10","Boiler",1998,95,"million Btu/hr",95,"million Btu/hr","Deinking residuals"]
["WIGPGreenBay2818","Georgia Pacific - Green Bay Broadway","Green Bay","WI","B25 - Stoker Boiler #5","Boiler",1950,200,"million Btu/hr",200,"million Btu/hr","Coal: Bituminous"]
["WIGPGreenBay2818","Georgia Pacific - Green Bay Broadway","Green Bay","WI","B26 - Stoker Boiler #6","Boiler",1962,350,"million Btu/hr",350,"million Btu/hr","Coal: Bituminous"]
["WIGPGreenBay2818","Georgia Pacific - Green Bay Broadway","Green Bay","WI","B27 - Cyclone Boiler #7","Boiler",1969,615,"million Btu/hr",615,"million Btu/hr","Coal: Bituminous"]
["WIGPGreenBay2818","Georgia Pacific - Green Bay Broadway","Green Bay","WI","B28 - Stoker Boiler #8","Boiler",1975,235,"million Btu/hr",235,"million Btu/hr","Coal: Bituminous"]
["WIGPGreenBay2818","Georgia Pacific - Green Bay Broadway","Green Bay","WI","B29 - Fluidized Bed Boiler #9","Boiler",1992,486,"million Btu/hr",486,"million Btu/hr","Coke Oven Gas"]
["WIGreenBayPackaging","Green Bay Packaging Inc., Green Bay Coated Products Division","Green Bay","WI","10526-01","Boiler",2006,10.26,"million Btu/hr",10.26,"million Btu/hr","Natural gas"]
["WIGreenBayPackaging","Green Bay Packaging Inc., Green Bay Coated Products Division","Green Bay","WI","10526-02","Boiler",2006,10.26,"million Btu/hr",10.26,"million Btu/hr","Natural gas"]
["WIGreenBayPackagingMillDivision","Green Bay Packaging Inc.- Green Bay Mill Division","Green Bay","WI","Boiler B26- Coal Fired Boiler","Boiler",1977,229,"million Btu/hr",229,"million Btu/hr","Coal: Bituminous"]
["WIGreenBayPackagingMillDivision","Green Bay Packaging Inc.- Green Bay Mill Division","Green Bay","WI","Boiler B33-Natural Gas Fired Boiler","Boiler",1997,187,"million Btu/hr",187,"million Btu/hr","Natural gas"]
["WIKimberlyClarkMarinette","Kimberly-Clark - Marinette Facility (formerly Kimberly-Clark Tissue Company)","Marinette","WI","B06","Boiler",1970,100,"million Btu/hr",100,"million Btu/hr","Natural gas"]
["WIKimberlyClarkMarinette","Kimberly-Clark - Marinette Facility (formerly Kimberly-Clark Tissue Company)","Marinette","WI","B07","Boiler",1970,100,"million Btu/hr",100,"million Btu/hr","Natural gas"]
["WIMuleHideMfg","Mule-Hide Manufacturing Co., Inc.","Cornell","WI","B21","Boiler",1936,104.1,"million Btu/hr",104.1,"million Btu/hr","Natural gas"]
["WIMuleHideMfg","Mule-Hide Manufacturing Co., Inc.","Cornell","WI","B22","Boiler",1919,34.7,"million Btu/hr",34.7,"million Btu/hr","Natural gas"]
["WINeenahPaperAppleton","Neenah Paper Inc. - Appleton Mill","Appleton","WI","B & W Boiler (B21)","Boiler",1978,68,"million Btu/hr",68,"million Btu/hr","Natural gas"]
["WINeenahPaperAppleton","Neenah Paper Inc. - Appleton Mill","Appleton","WI","Erie Boiler (B23)","Boiler",1987,148,"million Btu/hr",148,"million Btu/hr","Natural gas"]
["WINeenahPaperAppleton","Neenah Paper Inc. - Appleton Mill","Appleton","WI","Union Boiler (B22)","Boiler",1957,60,"million Btu/hr",60,"million Btu/hr","Natural gas"]
["WINewPageBiron","Biron Mill","Wisconsin Rapids","WI","B20","Boiler",1946,92,"million Btu/hr",92,"million Btu/hr","Natural gas"]
["WINewPageBiron","Biron Mill","Wisconsin Rapids","WI","B21","Boiler",1946,92,"million Btu/hr",92,"million Btu/hr","Natural gas"]
["WINewPageBiron","Biron Mill","Wisconsin Rapids","WI","B22","Boiler",1946,92,"million Btu/hr",92,"million Btu/hr","Natural gas"]
["WINewPageBiron","Biron Mill","Wisconsin Rapids","WI","B23","Boiler",1958,340,"million Btu/hr",340,"million Btu/hr","Coal: Bituminous"]
["WINewPageBiron","Biron Mill","Wisconsin Rapids","WI","B24","Boiler",1986,445.16,"million Btu/hr",445.16,"million Btu/hr","Coal: Sub-bituminous/Wood: Bark/Wood: Unadulterated Lumber"]
["WINewPageKimberly","Kimberly Mill","Kimberly","WI","B21","Boiler",1951,137.5,"million Btu/hr",137.5,"million Btu/hr","Coal: Bituminous"]
["WINewPageKimberly","Kimberly Mill","Kimberly","WI","B22","Boiler",1957,165,"million Btu/hr",165,"million Btu/hr","Coal: Bituminous"]
["WINewPageKimberly","Kimberly Mill","Kimberly","WI","B23","Boiler",1970,206.3,"million Btu/hr",206.3,"million Btu/hr","Natural gas"]
["WINewPageKimberly","Kimberly Mill","Kimberly","WI","B27","Boiler",1988,74.5,"million Btu/hr",74.5,"million Btu/hr","Natural gas"]
["WINewPageKimberly","Kimberly Mill","Kimberly","WI","B28","Boiler",1996,274.4,"million Btu/hr",274.4,"million Btu/hr","Natural gas"]
["WINewPage-StevensPoint","Stevens Point Mill","Stevens Point","WI","Boiler #4","Boiler",1990,168.6,"million Btu/hr",168.6,"million Btu/hr","Natural gas"]
["WINewPage-StevensPoint","Stevens Point Mill","Stevens Point","WI","Boiler #5","Boiler",1997,249,"million Btu/hr",249,"million Btu/hr","Natural gas"]
["WINewPage-Whiting","Whiting Mill","Stevens Point","WI","B23","Boiler",1961,115.3,"million Btu/hr",115.3,"million Btu/hr","Natural gas"]
["WINewPage-Whiting","Whiting Mill","Stevens Point","WI","B24","Boiler",1976,211.4,"million Btu/hr",211.4,"million Btu/hr","Coal: Sub-bituminous/Wood: Bark/Wood: Unadulterated Lumber"]
["WINewPage-WisconsinRapids","Wisconsin Rapids Mill","Wisconsin Rapids","WI","Package Boiler - B23","Boiler",1978,184,"million Btu/hr",184,"million Btu/hr","Natural gas"]
["WINewPage-WisconsinRapids","Wisconsin Rapids Mill","Wisconsin Rapids","WI","Power Boiler 1 - B21","Boiler",1966,412.3,"million Btu/hr",412.3,"million Btu/hr","Coal: Sub-bituminous"]
["WINewPage-WisconsinRapids","Wisconsin Rapids Mill","Wisconsin Rapids","WI","Power Boiler 2 - B20","Boiler",1966,412.3,"million Btu/hr",412.3,"million Btu/hr","Coal: Sub-bituminous"]
["WINewPage-WisconsinRapids","Wisconsin Rapids Mill","Wisconsin Rapids","WI","Power Boiler 3 - B24","Boiler",1991,564,"million Btu/hr",564,"million Btu/hr","Natural gas"]
["WIPCATomahawk","Packaging Corporation of America - Tomahawk","Tomahawk","WI","B24","Boiler",1977,250.6,"million Btu/hr",250.6,"million Btu/hr","Coal: Bituminous"]
["WIPCATomahawk","Packaging Corporation of America - Tomahawk","Tomahawk","WI","B27","Boiler",1955,122,"million Btu/hr",122,"million Btu/hr","Coal: Bituminous"]
["WIPCATomahawk","Packaging Corporation of America - Tomahawk","Tomahawk","WI","B28","Boiler",1956,190.9,"million Btu/hr",190.9,"million Btu/hr","Coal: Bituminous"]
["WIPCATomahawk","Packaging Corporation of America - Tomahawk","Tomahawk","WI","B29","Boiler",1969,140,"million Btu/hr",140,"million Btu/hr","Natural gas"]
["WIPCATomahawk","Packaging Corporation of America - Tomahawk","Tomahawk","WI","B30","Boiler",1995,236,"million Btu/hr",236,"million Btu/hr","Natural gas"]
["WIPechineyPlastic","Pechiney Plastic Packaging, Inc.","Menasha","WI","Boiler B30","Boiler",2000,14.7,"million Btu/hr",14.7,"million Btu/hr","Natural gas"]
["WIPechineyPlastic","Pechiney Plastic Packaging, Inc.","Menasha","WI","Boiler B40","Boiler",2000,14.7,"million Btu/hr",14.7,"million Btu/hr","Natural gas"]
["WIProctorGamble","The Procter & Gamble Paper Products Company","Green Bay","WI","BoHo #5","Boiler",1961,350,"million Btu/hr",350,"million Btu/hr","natural gas and #2 fuel oil"]
["WIProctorGamble","The Procter & Gamble Paper Products Company","Green Bay","WI","BoHo #6","Boiler",1967,350,"million Btu/hr",350,"million Btu/hr","natural gas and #2 fuel oil"]
["WIProctorGamble","The Procter & Gamble Paper Products Company","Green Bay","WI","BoHo #7","Boiler",1992,327,"million Btu/hr",327,"million Btu/hr","Natural gas"]
["WISCATissue","SCA Tissue North America LLC-Menasha Paper Mill","Menasha","WI","B22","Boiler",1982,72.3,"million Btu/hr",72.3,"million Btu/hr","Natural gas"]
["WISCATissue","SCA Tissue North America LLC-Menasha Paper Mill","Menasha","WI","B23","Boiler",1978,74,"million Btu/hr",74,"million Btu/hr","Natural gas"]
["WISCATissue","SCA Tissue North America LLC-Menasha Paper Mill","Menasha","WI","B24","Boiler",1989,73.2,"million Btu/hr",73.2,"million Btu/hr","Natural gas"]
["WISTPaper","ST Paper LLC","Oconto Falls","WI","#1TM Gas Fired Dryer","Process Heater",1998,14.5,"million Btu/hr",14.5,"million Btu/hr","Natural gas"]
["WISTPaper","ST Paper LLC","Oconto Falls","WI","#2TM Gas Fired Dryer","Process Heater",2000,12,"million Btu/hr",12,"million Btu/hr","Natural gas"]
["WISTPaper","ST Paper LLC","Oconto Falls","WI","#7 Boiler","Boiler",1969,107,"million Btu/hr",107,"million Btu/hr","Natural gas"]
["WIThilmanyLLC","Thilmany, LLC","Kaukauna","WI","B07","Boiler",1948,204,"million Btu/hr",204,"million Btu/hr","Wood: Bark"]
["WIThilmanyLLC","Thilmany, LLC","Kaukauna","WI","B09","Boiler",1957,192.4,"million Btu/hr",192.4,"million Btu/hr","Coal: Bituminous"]
["WIThilmanyLLC","Thilmany, LLC","Kaukauna","WI","B11","Boiler",1967,379,"million Btu/hr",379,"million Btu/hr","Coal: Bituminous"]
["WIThilmanyPapersNicoletMill","Thilmany Papers Nicolet Mill","De Pere","WI","B21","Boiler",1944,40.3,"million Btu/hr",40.3,"million Btu/hr","Natural gas"]
["WIThilmanyPapersNicoletMill","Thilmany Papers Nicolet Mill","De Pere","WI","B22","Boiler",1944,40.3,"million Btu/hr",40.3,"million Btu/hr","Natural gas"]
["WIThilmanyPapersNicoletMill","Thilmany Papers Nicolet Mill","De Pere","WI","B23","Boiler",1960,105,"million Btu/hr",105,"million Btu/hr","Coal: Bituminous"]
["WIThilmanyPapersNicoletMill","Thilmany Papers Nicolet Mill","De Pere","WI","B24","Boiler",1963,105,"million Btu/hr",105,"million Btu/hr","Coal: Bituminous"]
["WIWausau","Wausau Paper Corp.","Mosinee","WI","# 12 Package Boiler (B25)","Boiler",1963,64,"million Btu/hr",64,"million Btu/hr","Natural gas"]
["WIWausau","Wausau Paper Corp.","Mosinee","WI","# 5 Power Boiler (B24)","Boiler",1966,143,"million Btu/hr",143,"million Btu/hr","Coal: Bituminous/Industrial Sludge/Wood: Bark"]
["WIWausau","Wausau Paper Corp.","Mosinee","WI","# 6 Power Boiler (B20)","Boiler",1975,211.7,"million Btu/hr",211.7,"million Btu/hr","Coal: Bituminous"]
["WIWausauBrokaw","Wausau Paper - Brokaw Mill","Brokaw","WI","Boiler #3","Boiler",1959,62.5,"1000 lb steam/hr",71.875,"million Btu/hr","Natural gas"]
["WIWausauBrokaw","Wausau Paper - Brokaw Mill","Brokaw","WI","Boiler #4","Boiler",1966,156,"1000 lb steam/hr",179.39999999999998,"million Btu/hr","Natural gas"]
["WIWausauBrokaw","Wausau Paper - Brokaw Mill","Brokaw","WI","Boiler #5","Boiler",1975,151,"1000 lb steam/hr",173.64999999999998,"million Btu/hr","Natural gas"]
["WIWausauBrokaw","Wausau Paper - Brokaw Mill","Brokaw","WI","Boiler #8","Boiler",1994,330,"1000 lb steam/hr",379.49999999999994,"million Btu/hr","Natural gas"]
["WIWausauBrokaw","Wausau Paper - Brokaw Mill","Brokaw","WI","MAU-3","Process Heater",1992,10,"million Btu/hr",10,"million Btu/hr","Natural gas"]
["WIWausauRhine","Wausau Paper Specialty Products, LLC","Rhinelander","WI","B20","Boiler",1934,91,"million Btu/hr",91,"million Btu/hr","Coal: Bituminous"]
["WIWausauRhine","Wausau Paper Specialty Products, LLC","Rhinelander","WI","B21","Boiler",1929,91,"million Btu/hr",91,"million Btu/hr","Coal: Bituminous"]
["WIWausauRhine","Wausau Paper Specialty Products, LLC","Rhinelander","WI","B22","Boiler",1929,91,"million Btu/hr",91,"million Btu/hr","Coal: Bituminous"]
["WIWausauRhine","Wausau Paper Specialty Products, LLC","Rhinelander","WI","B23","Boiler",1941,91,"million Btu/hr",91,"million Btu/hr","Coal: Bituminous"]
["WIWausauRhine","Wausau Paper Specialty Products, LLC","Rhinelander","WI","B26","Boiler",1958,300,"million Btu/hr",300,"million Btu/hr","Coal: Bituminous"]
["WIWausauRhine","Wausau Paper Specialty Products, LLC","Rhinelander","WI","B28","Boiler",1996,280,"million Btu/hr",280,"million Btu/hr","Natural gas"]
["WIWisconsinPaperboard2879","Wisconsin Paperboard Corporation","Milwaukee","WI","B23","Boiler",1962,81.2,"million Btu/hr",81.2,"million Btu/hr","Natural gas"]
["WIWisconsinPaperboard2879","Wisconsin Paperboard Corporation","Milwaukee","WI","B24","Boiler",2000,144,"million Btu/hr",144,"million Btu/hr","Natural gas"]