{"text_format":"2","workbook":"xls","n_sheets":2,"sheets":["FGIS-923","Instructions"],"not_rendered":{"charts":0,"images":2,"macros":0,"external_links":1,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"FGIS-923","index":0,"n_rows":53,"n_cols":7,"rows_kept":53,"cut":false,"hidden":false,"merged":[[42,1,45,6],[10,1,10,2],[6,1,6,3],[7,1,7,3],[8,1,8,3],[9,1,9,3]],"flags":["formulas_cached_only"]}
[{"$nulls":5},".","FORM APPROVED "]
[{"$nulls":6},"OMB NO. 0580-0013"]
[]
[{"$nulls":6},"File Name:"]
[]
[]
["Field Office"]
["Agency",{"$nulls":5},"INITIAL"]
["Location",{"$nulls":5},"RETEST"]
["Phone",{"$nulls":5},"REPAIR"]
["Fax",{"$nulls":5},"2ND SAMPLE"]
[]
["PARTS  A.  AND  B.  CALIBRATION CONSTANTS & DIAGNOSTIC VALUES  VERIFICATION"]
["VERIFIED K1 THRU K9 : Initials"]
[]
["METER S/N",null,"SCD1",null,"SCD2"]
[]
["PART C.  WEIGHING ACCURACY TEST"]
[null,null,"DROP 1","DROP 2","DROP 3","DROP 4","DROP 5"]
["D3 VALUE"]
["D3 / 10 ROUND TO 0.1",null,0,0,0,0,0]
["SCALE WEIGHT (g)"]
["GAC WT - SCALE WEIGHT",null,0,0,0,0,0]
[]
["AVG OF DIFFERENCES",null,0,"RANGE OF DIFFERENCES",null,0]
[]
["PART D.  GRAIN MOISTURE SAMPLE TEST"]
["METER CAC",null,"SAMPLE I.D."]
[]
[null,"DROP 1","DROP 2","DROP 3","DROP 4","DROP 5","DROP 6"]
["DISPLAY MOISTURE"]
["D1"]
["D2"]
["D3"]
["D4"]
["CALC. MOISTURE"]
["AVG MOISTURE",{"$error":"#DIV/0!"}]
["STD. AVG.MOISTURE"]
["DEVIATION",{"$error":"#DIV/0!"},null,"OPERATOR (FIELD):",null,"DATE TESTED: "]
["TOLERANCE",0.15,null,"REVIEWER (HQ):",null,"DATE REVIEWED: "]
[]
["RECOMMENDED ACTION:","APPROVED",null,"RETEST",null,"REPAIR"]
["  COMMENTS"]
{"$rows_empty":9}
["Form FGIS 923 (7-04)   Previous editions may be used."]

{"sheet":"Instructions","index":1,"n_rows":38,"n_cols":13,"rows_kept":38,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
[]
[{"$nulls":11},"Instructions for Completing"]
[{"$nulls":12},"Form FGIS-923, “Moisture Meter Test”"]
[]
[]
[{"$nulls":11},"Fill in any missing or incorrect information in the Identification Block."]
[]
[{"$nulls":11},"Part A."]
[]
[{"$nulls":11},"Verify all official calibration constants.  Update all obsolete calibrations.  Initial to indicate that all calibrations are correct."]
[]
[{"$nulls":11},"Part B."]
[]
[{"$nulls":11},"Enter meter serial number."]
[{"$nulls":11},"Enter SCD1 and SCD2 values."]
[]
[{"$nulls":11},"Part C."]
[]
[{"$nulls":11},1,"Enter the result of the first drop (the D3 value)."]
[{"$nulls":11},2,"Divide the D3 reading by 10.  Record the result to 0.1"]
[{"$nulls":11},3,"Enter the weight reading from the lab scale."]
[{"$nulls":11},4,"Enter the difference (Item 2 minus Item 3)."]
[{"$nulls":11},5,"Repeat Item 1 through Item 4 for a total of five drops."]
[{"$nulls":11},6,"Enter the average difference (average of five differences from Item 4)."]
[{"$nulls":11},7,"Enter the range of differences (total spread of the differences)."]
[]
[{"$nulls":11},"Part D."]
[]
[{"$nulls":11},1,"Enter the CAC from the meter display (not from records)."]
[{"$nulls":11},2,"Enter the grain sample identification."]
[{"$nulls":11},3,"Enter the moisture display for the first drop."]
[{"$nulls":11},4,"Enter the values D1, D2, D3, and D4 for the first drop."]
[{"$nulls":11},5,"Repeat Items 3 and 4 for a total of six drops."]
[{"$nulls":11},6,"            Enter the name of the field test meter operator."]
[{"$nulls":11},7,"Enter the date."]
[{"$nulls":11},8,"Check the box whether the meter is approved for use, needs testing again, or repairing."]
[{"$nulls":11},9,"Any additional comments necessary concerning the test or information about the meter."]